# 电镀废水毕业设计方案

摘	要

电镀是利用化学和电化学方法在金属或在其它材料外表镀上各种金属。电镀

技术广泛应用于机器制造、轻工、电子等行业。

电镀废水的成分格外简单，除含氰(CN-)废水和酸碱废水外，重金属废水是

电镀业潜在危害性极大的废水类别。依据重金属废水中所含重金属元素进展分 类，一般可以分为含铬(Cr)废水、含镍(Ni)废水、含镉(Cd)废水、含铜(Cu)废水、含锌(Zn)废水、含金(Au)废水、含银(Ag)废水等。电镀废水的治理在国内外普遍受到重视，研制出多种治理技术，通过将有毒治理为无毒、有害转化为无害、回

收贵重金属、水循环使用等措施消退和削减重金属的排放量。

本文着重从运行本钱和效率问题动身，承受生化法+破络合法处理电镀废水，

日处理量 2023 m3 /d，出水水质到达国家污水综合排放一级标准，即 GB8978— 1996。

###### 关键词：电镀废水、治理、一级标准、生化法+破络合法

Abstract

Plating is making use of the chemistry and the method of electrochemistry to plate various metals power on the surface of metal or other materials. The technology of plating is widely used for manufacture of machines、light industry and electro industry and so on.

The components of the plating wasted-water are very complex. Heave metal wasted-water is the sort which has a potential great harm for plating industry, except the wasted-water contained cyanogens (Cn-) and the acid & alkali wasted-water.	Under heavy metal wasted-water contained heavy metals separation and generally can be divided into chromium (Cr) wastewater, Nickel (Ni) wastewater containing cadmium (Cd) wastewater, copper (Cu) wastewater, zinc (Zn) wastewater, gold (Au) wastewater containing silver (Ag) wastewater. Electroplating wastewater treatment in widespread attention at home and abroad, has developed various management technology, and management of toxic to nontoxic, into sound harmful, precious metal recycling, water use and other measures to eliminate and reduce heavy metals emissions.

This article focuses on operating costs and efficiency, using biochemical and synthesizing break-chrome to deal with electroplating wastewater, handle the volume 2,000 m3 / d, the effluent water quality was against the sewage discharge standards of our state, that is GB8978-1996

Key words: electroplating wasted-water, deal with	,	the sewage discharge standards of our state ， biochemical and synthesizing break-chrome

以上内容仅为本文档的试下载部分，为可阅读页数的一半内容。如要下载或阅读全文，请访问：https://d.book118.com/346243035155010030