本 科 毕 业 论 文（设 计）

论文题目：    直流电桥灵敏度及其影响因素

# 摘    要

直流电桥广泛应用于科学研究和工业制造中，其灵敏度是衡量其性能的重要指标。因此，研究直流电桥灵敏度及其影响因素具有重要意义。其是一种广泛应用于电子测量领域的传感器，它是利用电桥平衡原理，将被测量物理量转换为电信号输出实现测量目的。

本研究旨在探究直流电桥灵敏度的计算方法和实验验证，改进前人实验过程中实验方式单一，未将仿真与实验相结合的缺点，从而分析其中的影响因素，通过深入研究直流电桥的基本原理，提高直流电桥的计算精度，为其应用于实验控制领域提供理论依据。同时介绍了直流电桥基本原理，分析了直流电桥灵敏度的计算方法。通过Multisim仿真实验跟具体实验相结合，猜想直流电桥灵敏度的影响因素，并进行仿真与实验验证，从而达到提高直流电桥的精度的目的。仿真实验结果跟具体实验进行对比表明，直流电桥灵敏度受到电桥元件等因素的影响，对这些因素进行了分析，并给出了优化方案。最终，在保证实验准确性的前提下，成功提高了直流电桥的计算精度。综上所述，本次研究通过仿真实验研究和分析，深入探究了直流电桥灵敏度及其影响因素，提高了直流电桥的计算精度，在应用于实验控制领域中具有重要意义。未来，可进一步研究如何更好地利用直流电桥，将在控制领域的应用中发挥更大的作用。

关键词：直流电桥；灵敏度；影响因素；电阻；仿真

论文类型：理论研究

# Abstract

Dc bridge is widely used in scientific research and industrial manufacturing, and its sensitivity is an important index to measure its performance. Therefore, it is of great significance to study the sensitivity of DC bridge and its influencing factors. It is a kind of sensor widely used in the field of electronic measurement. It uses the principle of bridge balance to convert the measured physical quantity into electrical signal output to achieve the purpose of measurement.

The purpose of this study is to explore the calculation method and experimental verification of the sensitivity of DC bridge, improve the previous experimental process of a single experimental method, did not combine simulation with experiment shortcomings, so as to analyze the influencing factors, through in-depth study of the basic principle of DC bridge, improve the calculation accuracy of DC bridge, for its application in the field of experimental control to provide a theoretical basis. At the same time, the basic principle of DC bridge is introduced, and the calculation method of the sensitivity of DC bridge is analyzed. By combining the Multisim simulation experiment with the concrete experiment, the factors influencing the sensitivity of the DC bridge are guessed, and the simulation and experimental verification are carried out, so as to achieve the purpose of improving the accuracy of the DC bridge. The simulation results are compared with the concrete experiments, which show that the sensitivity of DC bridge is affected by the bridge components and other factors, and these factors are analyzed, and the optimization scheme is given. Finally, on the premise of ensuring the experimental accuracy, the calculation accuracy of DC bridge is successfully improved. To sum up, through simulation experiment research and analysis, this study deeply explored the sensitivity of DC bridge and its influencing factors, improved the calculation accuracy of DC bridge, and has great significance in the field of experimental control. In the future, further research on how to make better use of DC bridge will play a greater role in the application of control field

Key Words：DC Bridge;Sensitivity;Influencing Factors;Resistance;Capacitance

以上内容仅为本文档的试下载部分，为可阅读页数的一半内容。如要下载或阅读全文，请访问：https://d.book118.com/517126116035006053