| 调节保安系统 | governing and protection system |
| --- | --- |
| 油系统 | oil system |
| 辅机系统 | auxiliary system |
| 安装要求 | requirement for installation |
| 技术规范 | specification |
| 辅助设备 | auxiliary equipment |
| 安装数据 | data on installation |
| 工况图 | condition curves |
| 凝汽式汽轮机 | condensing steam turbine |
| 转子部分 | rotary part |
| 主轴 | main shaft |
| 联轴器 | coupling |
| 主油泵 | main oil pump |
| 叶轮叶片 | bladed wheels |
| 盘车齿轮 | turning gear |
| 静子部分 | stationary part |
| 汽缸 | casing |
| 喷嘴组 | nozzle blocks |
| 隔板 | diaphragm 挡板 damper |
| 汽封 | gland |
| 轴承 | bearing |
| 轴承座 | bearing housing |
| 油动机 | servomotor |
| 调节汽阀 | steam governing valve |
| 公用底盘 | common chassis |
| 单缸结构 | single casing structure |
| 前汽缸 | inlet casing |
| 后汽缸 | exhaust casing |
| 垂直中分面 | vertical splits |
| 主汽门 | main stop valve |
| 调节汽阀蒸汽室 | steam chamber of steam governing valve |
| 新蒸汽 | live steam |
| 碳素钢 | welding carbon steel |
| 铸钢 | steel casting |
| 排汽室 | exhaust chamber |
| 凝汽器 | condenser |
| 排气接管 | exhaust adapter |
| 膨胀节 | expansion loop |
| 汽轮机本体 | steam turbine proper |
| 猫爪 | lugs |
| 沿轴向的 | axially |
| 推力 | thrusting force |
| 底脚法兰 | foot flanges |
| 滑销系统 | sliding key system |
| 纵销 | longitudinal keys |
| 横销 | cross keys |
| 立销 | vertical keys |
| 润滑油槽 | oil grooves |
| 润滑油 | lubricating oil |
| 地脚螺栓 | anchor bolts |
| 压紧螺栓 | hold-down bolts |
| 调节级 | control stage |
| 汽缸筒体 | casing barrel |

| 测孔 | gauging hole |
| --- | --- |
| YjulSI | temperature differential |
| 疏水口 | drain ports |
| 喷嘴组 | nozzle block |
| 喷油嘴 | oil nozzle |
| 悬挂销 | suspension pins |
| 密封键 | sealing keys |
| 定位销 | securing keys |
| 同流部分气封 | flow passage glands |
| 隔板汽封 | diaphragm gland |
| 前后汽封 | front and rear gland |
| 动叶 | moving blades |
| 围带 | shroud band |
| 隔板汽封环 | diaphragm gland ring |
| 压紧弹簧 | hoedown spring |
| 汽封套筒 | gland sleeve |
| 迷宫室汽封 | labyrinth gland |
| 排汽室 | exhaust chamber |
| 漏气 | leak steam |
| 套装转子 | shrunk-on rotor |
| 危急遮断器 | emergency governor |
| 刚性联轴器 | butt-muff coupling |
| 动平衡试验 | dynamic test |
| 推力轴承前轴承 | thrust-journal bearing |
| 主油泵环室 | chamber of mail oil pump |
| 危急遮断油门 | emergency governor pilot valve |
| 试验控制阀 | trial control valve |
| 启动阀 | starting valve |
| 前底板 | front base plate |
| 角销 | angle pins |
| 热膨胀监测保护仪 | thermal expansion monitor |
| 金属软管 | metallic flexible hoses |
| 油口 | oil port |
| 探头 | probe |
| 插头座 | plug socket |
| 伯热电阻 | platinum thermostats |
| 具体位置 | practical position |
| 联合轴承 | combined bearing |
| 可倾瓦式 | pivoted shoe |
| 推力瓦块 | thrust pads |
| 小齿轮 | pinion |
| 套装 | be shrunk on |
| 螺旋槽 | spiral grooves |
| 静压力 | fixed pressure |
| 有孔帽罩 | perforated cap |
| 多压式汽轮机/补汽式汽轮机 | multi-pressure turbine |
| 启动阀 | Starting valve |
| 汽轮机安全监测装置 | Safety monitor for steam turbine |
| 电调装置 | Electric governing system |
| 油动机 | Servomotor |
| 调节汽阀及连杆 | Steam governing valve with link lever |

| 疏水管路 | Drain piping |
| --- | --- |
| 射汽抽气器蒸汽管路 | Steam piping for steam ejector |
| 汽封管路 | Gland piping |
| 抽空气管路 | Air extraction piping |
| 滤汽器 | Steam filter |
| 外部油管路系统图 | External oil line system diagram |
| 本体油管路 | Oil line for turbine proper |
| 凝汽器 | Condenser |
| 安全膜板 | Rupture disk |
| 排汽接管 | Exhaust adapter |
| 起动抽气器 | Starting ejector |
| 两级射汽抽气器 | Two-stage steam ejector |
| 疏水器 | Drainer |
| 轴封冷却器 | Shaft gland steam cooler |
| 疏水膨胀箱 | Flash tank 扩容器 |
| 均压箱 | Surge tank |
| 垫铁 | Wedge block |
| 特种板手 | Special spanner |
| 桥形规 | Bridge gauge |
| 拆轴瓦工具 | Bearing liner remover |
| 拆装主汽门工具 | Tool for dismantling and assembling MSV |
| 导柱 | Guide pillar |
| 汽缸导柱 | Guide pillar for casing |
| 吊转子工具 | Hoisting bar for rotor |
| 吊隔板工具 | Hoisting bar for diaphragm |
| 吊汽缸工具 | Hoisting bar for casing |
| 转子固定装置 | Device for fixing rotor |
| 螺栓 | bolt |
| 双头螺栓 | Stud |
| 罩螺母 | Cap nut |
| 填料环 | Packing ring |
| 活塞环 | Piston ring |
| 错油门弹簧 | Spring of pilot valve |
| 推力瓦块 | Thrust pad |
| 轴承瓦块 | Bearing pad |
| 滤芯 | Filter cartridge |
| 电磁阀 | Solenoid valve |
| 方向控制阀 | Direction control valve |
| 升降式止回阀 | Elevating check valve |
| 焊接式截止阀 | Welding stop valve |
| 截止阀 | Stop valve |
| 闸阀 | Gate valve |
| 磁阻式转速传感器 | Reluctance speed sensor |
| 热膨胀监测保护仪 | Thermal expansion monitor |
| 油动机监视保护仪 | Servomotor monitor |
| 热电偶 | Thermocouple |
| 接近开关 | Proximity switch |
| 行程开关 | Limit switch |
| 压力开关 | Press switch |
| 充气工具 | Air charging tool |
| 压力调节器 | Press. regulator |
| 压力变送器 | Press. transmitter |
| 双筒低压管路过滤器 | Binocular LP line filter |

| 囊式畜能器 三相异步电动机 数字电液调节系统 数字转速表 磁浮液位计 伯热电阻 米引线 热电阻 接线端子箱 | Bag accumulator Three-phase asynchronous motor DEH system Digital tachometer Magnetic float type level meter Platinum thermistor 5 m lead wire Thermistor Terminal box |
| --- | --- |
| 汽耗率 通气器 前置器 延伸电缆 浸入直管式液位指示器 液压空气滤清器 自封式吸油过滤器 膨胀节 通用型膨胀节， 键槽 | Steam rate Gas exhauster Proximitor Extension cable Immersion straight pipe type level indicator hydraulic air filter self-closing oil adsorption filter expansion joint common type expansion joint keyway |
| 蠕变断裂测试数据 锻造温度 始锻 终锻 | Creep Rupture Test Data Forge Nearing Temp. Starting Forge Final Forge |
| 线膨胀系数 导热系数 弹性系数 临界点温度 蠕变断裂强度 | Liner Expansibility Heat Conductivity Elastic Ratio Transformation Point Temp. Creep Rupture Strength |

P20 新蒸汽 LIVE STEAM	压力 PRESS,	温度 TEMP.

流量 FLOW RATE	焓 ENTHALPY	热耗 HEAT RATE

汽耗 STEAM RATE

P21 工业抽汽 EXTRACTION STEAM FOR PROCESSING

汽机排汽	EXTRACTION STEAM FROM TURBINE

冷却水 COOLING WATER

P23 初压变化对功率的修正曲线

INITIAL PRESS. VARIATION - POWER CORRECTION CURV

P24 初温变化对功率的修正曲线

INITIAL TEMP. VARIATION - POWER CORRECTION CURVE

P25 冷却水温变化对功率的修正曲线

COOLING WATER TEMP. VARIATION - POWER CORRECTION CURVE

P26 抽汽压力变化对功率的修正曲线

EXTRACTION PRESS. VARIATION - POWER CORRECTION CURVE

P27 工况图 CONDITION CURVE

I Power station 电站

- power station 电站

- power plant电站，发电设备

- utility电力部门

4.independent power producer (IPP)独 立发电项目，独立发电站

- nuclear power station 核电站

- thermal power station 火电站

- fossil (fired) power plan t化石燃料电站，常规火电站

- combined heat power (CHP) plant 热电联供机组

- steam power plant蒸汽电站，蒸汽发电设备

- cogeneration power station 热电联供电站

- coal fired power plant 燃煤电站

- oil fired power plant 燃油电站

- gas fired power plant 燃气电站

- LNG power plant (liquefied natural gas)燃 液化天然气电站

- BoP (balance of plant )电站辅机

- I&C (instrumentation and control )仪表和控制系统

II Turbine透平，涡轮

- Turbine透平，涡轮

- steam turbine 汽轮机

- gas turbine 燃气轮机

- nuclear turbine 核电汽轮机

- fossil turbine 火电汽轮机

- industrial turbine 工业透平

- cogeneration turbine 热电联供透平

- condensing turbin e 凝汽式汽轮机

- back pressure turbine 背压式汽轮机

- extraction turbine 抽汽式汽轮机

- extraction condensing turbine 抽汽凝汽式汽轮机

- single-extraction turbine 单抽汽轮机

- double-extraction turbine 双抽汽轮机

- mechanical drive turbine 机械驱动汽轮机

- HP (IP, LP) turbine 高(中、低)压缸

- sub-critical pressure turbine 亚临界汽轮机

- super-critical pressure (SC) turbine 超临界汽轮机

- ultra-super critical (USC) pressure turbine 超朝临界汽轮机

- BFPT (boiler feed pump turbine)给水泵汽轮机

- steam turbine with air-cooled condenser(air cooled steam turbine)空冷汽轮机

- reheat turbine 再热汽轮机

- double-reheat turbine 二次再热汽轮机

- wet steam turbine湿蒸汽汽轮机

- saturated steam turbine 饱和蒸汽汽轮机

- full-speed turbine 全速汽轮机

- half-speed turbine 半速汽轮机

- tandem compound turbine 单轴汽轮机

- cross compound turbine 双轴汽轮机

- super (over)-high pressure turbine 过高压汽轮机

- impulse (type) turbin e 冲动式汽轮机

- reaction (type) turbine 反动式汽轮机

- axial flow turbine 轴流透平

- radial flow turbine 径流透平

- turbine with axial condenser 轴向排汽汽轮机

- turbine with horizontal joint带有水平中分面的汽轮机

- turbine with vertical joint带有垂直中分面的汽轮机

- double flow turbine 两排汽汽轮机

- triple flow turbine 三排汽汽轮机

- single-casing turbine 单缸汽轮机

- double-casing turbine 双缸汽轮机

- turbine proper 汽轮机本体

- oil turbine 油透平

- hydraulic turbine 水轮机

- marine steam turbine 船用汽轮机

- aeroderivative gas turbine 航改式燃气轮机

- stationary steam turbine 电站汽轮机

- auxiliary turbine 辅助透平

III Rotary parts 回转件

- rotor 转子

- rigid rotor 刚性转子

- flexible rotor 挠性转子

- solid (forged) rotor (monobloc rotor)整锻转子

- welded rotor 焊接转子

- (hollow) drum (type) rotor 鼓型转子

- built-up rotor 组装转子

- rotor without center bore 无中心孔转子

- HP-LP integrated rotor 高/低压一体化转子

- shafting (shaft)轴系

- HP (IP, LP) rotor 高(中、低)压转子

- thrust collar 推力盘

- journal 轴颈

- section of rotor 转子区段

- (first, second ) critical speed 一阶(二阶)临界转速

- extension shaft (spacer)中间轴，延伸段

- coupling 联轴节

- flexible coupling 挠性联轴节

- rigid coupling 刚性联轴节

- semi-flexible coupling 半挠性联轴节

- half coupling联轴节半部

- integral (forged) coupling 整体(锻制)联轴节

- shrunk-on coupling 红套联轴节

- spigot (rabbet)止口

- disk (disc)叶轮

- rim (steeple)轮缘(根树型叶根槽)

- hub轮毂

- body(web)轮体

- T ( fir tree-type ) groove T 型(枞树型)叶根槽

- balance hole (plane, weight, plug)平衡孔(平衡平面，平衡配重，平衡旋塞)

- keyway 键槽

- disk of constant stress (conical profile)等强度(锥形)叶轮

- disk of constant thickness 等厚度叶轮

- shrunk-on disk 红套叶轮

- blade 叶片

- moving (rotating, rotor) blade 动叶

- bucket 动叶

- straight (tapered, twisted) blade 直叶片(变截面叶片，扭曲叶片)

- last stage (last but one, penultimate) blade 末级叶轮(次末级叶片)

- last (locking , gate) blade (piece)末 叶片(锁紧叶片，锁紧件)

- free-stand blade 自由叶片

- integral shroud blade 整体围带叶轮

- triple-pin blade 三联叶片

- bow blade马刀型叶片

- compound lean blade 复合弯扭叶片

- concave (pressure) side 内弧(压力侧)

- convex (suction) side 背弧(负压侧)

- tenon铆钉头

- leading (inlet) edge 进汽边

- trailing (outlet, exit) edge 出汽边

- blade wake 叶片尾流

- convergent-divergent channel (CD passage)缩张通道

- brazed (stellite) shield 钎焊(斯太立)防蚀片

- lacing hole 拉筋孔

- profile (section of blade)叶型，型线部分(叶片截面)

- reaction(degree)反动度

- cascade 叶栅

- blade root 叶根

- (three teeth, straight, curved ) fir- tree (blade) root (三齿直线/弧形)枞树型叶根

- ( five finger) fork type (blade) root (五叉)插入式叶根，叉型叶根

- tee (T-type) root T 型叶根

- inverted-T (blade) root 倒 T 型叶根

- straddle-type (blade) root 外包叶根

- straddle inverted T-root 外包倒 T 型叶根

- dovetail root (serrated root)燕尾型(齿型)叶根

- lacing (tie) wire 拉筋

- (lacing) lug (stub)拉筋凸台

- loose lacing wire 松拉筋

- tubular lacing wire 管状拉筋

- shroud (band，cover)围带

- whole circle packed (continuously connected) shroud 整圈连接围带

- integral shroud 整体围带

- snubber整体围带

- gauging (throat)喉节比(喉部)

- pitch diameter节径，平均直径

- top diameter (叶片)顶部直径

- Stationary parts 静止件

- casing (cylinder)汽 缸，缸体

- outer casing 夕卜缸

- inner casing 内缸

- single-shell casing 单层缸

- double-shell casing 双层缸

- cover (upper half)上半部

- base (lower half)下半部

- horizontal (split) joint 水平中分面

- (massive)flange (厚)法兰

- (casing) bore (汽缸)洼窝

- fastener (bolt, nut, stud, dowel)紧固件(螺栓、螺母、螺柱、定位销)

- vertical flange 垂直法兰

- tightness 气密性

- inlet 进口

- exhaust 排汽口

- exhaust hood 排汽缸

- guide plate 导流板

- diffuser 扩压管

- flange bolt hole 法兰螺栓孔

- shrunk-on ring 红套箍环

- combined HP-IP casing 高中压合缸

- thermal shield (baffle)挡热板

- single (double) flow HP turbine 单流(双流)高压缸

- flow path (steam path)通 流部分

- center support system 滑键系统

- lug ( foot, pawl)猫爪

- thermal insulation 保温设施

- enclosure (lagging)罩壳(夕卜壳)

- diaphragm 隔板

- blade ring ( diaphragm carrier)叶片持环，隔板套

- outer (inner) ring (of diaphragm)(隔板)外环(内环，隔板体)

- stationary (stator, guide ,nozzle) blade 静叶，导叶，喷嘴

- vane (partition)静叶

- cast-in (welded-in) diaphragm 铸造(焊接)隔板

rotary diaphragm 回转隔板

- nozzle block (chest)喷嘴组(喷嘴室)

- diaphragm deflection 隔板挠度

- bearing housing (pedestal)轴承箱

- front bearing housing (standard)前轴承箱

- rear bearing housing 后轴承箱

- floor(-type) bearing 落地式轴承

- bearing 轴承

- journal (radial) bearing 支持轴承(径向轴承)

- thrust ( axial) bearing 推力轴承(轴向轴承)

- tilting pad bearing 可倾瓦轴承

- Kingsburg type thrust bearing 金斯布里推力轴承

- Babbitt (white metal, bearing metal)巴氏合金

- bearing bush 轴承壳体

- bearing body 轴承体

- bearing pad 轴瓦

- bearing cover (cap)轴承上半

- 360° bearing 整圆轴承

- elliptical bearing 椭圆轴承

- three wedge bearing 三油楔轴承

- self-aligning bearing 自找中轴承

- sleeve bearing 套筒式轴承

- sliding bearing 滑动轴承

- (oil) pocket (wedge)油袋(油楔)

- oil film 油膜

- oil (film) whip 油膜振荡

- setting pad (segment)安 装瓦块

- working pad (segment)X 作瓦块

- oil ring (oil deflector)挡油环

- oil film stiffness 油膜刚度

- armored thermocouple 铠装式热电偶

- Main Valves主要阀门

- Main (HP) stop valve (MSV)主汽阀

- control (governing) valve (CV GV)调节阀

- reheat (IP) stop valve(RSV)再热主汽阀

- intercept valve 再热调节阀

- Combined main stop/governing valve 联合式主汽 /调节阀

- butterfly valve 蝶阀

- piloted (pre-inlet) valve 预启阀

- fast valve快速动作阀

- check (non-return) valve 逆止阀

- solenoid valve 电磁阀

- motor driven (operated) valve 电动阀

- drain valve 疏水阀

- diaphragm valve (atmospher ic)膜片阀(大气阀)

- relief (exhaust) valve 释放阀(放汽阀)

- safety valve 安全阀

- extraction valve 抽汽阀

- stop valve 截止阀

- flap valve 翻板阀

- gate valve 闸阀

- steam chest 蒸汽室

- (valve) stem 阀杆

- (valve) disk (plug)阀碟

- (valve ) seat 阀座

- (valve) bonnet (cover)阀帽(阀盖)

- valve casing (chest)阀壳

- (valve) travel (stroke)阀门行程

- cross over (cross under)连通管

- anti-jamming(stick) test 防卡涩试验

- Various systems 各种系统

- Control system (control and protection system)调节系统(调节保安系统)

- Electro-hydraulic control system 电液调节系统

- hydro-mechanical control system 液压调节系统

- DEH (digital electro-hydraulic control system)数 字式电液调节系统

- electro-hydraulic converter 电液转换器

- trip跳闸，脱扣

- actuator执行机构

- servomot or 油动机

- pilot (slide, spool) valve 滑阀

- piston 活塞

- piston rod 活塞杆

- (oil) cylinder 油缸

- (oil) window 油口(窗)

- overlap 覆盖度

- emergency governor 危急遮断器

- speed governor 调速器

- MSV servomotor主汽阀油动机

- spring support 操纵座

- centrifugal stop bolt 撞击子

- LVDT (linear variable differential transformer线性阀位传感器

- safety test box 安全试验盒

- relay继电器，继动器

- relay valve 继动滑阀

- axial displacement indicator (transducer)轴 向位移指示器(传感器)

- overspeed protection 超速保护

- differential expansion detector (transducer)差 胀检出器(传感器)

258 lever 杠杆

- (cam type) steam distribution device 凸轮式排汽机构

- throttle governing 节流调节

- nozzle governing 喷嘴调节

- partial admission (degree )部分进汽(度)

- full arc admission 全周进汽

- governing (control) stage (Curtis stage)调节级(复速级)

- Oil system 油系统

- Main oil reservoir (tank)主 油箱

- turbine oil 透平油

- fire-resistant fluid 抗燃油

- lube (lubrication ) oil 润滑油

- HP control fluid 高压控制油

- pressure (feed) line (pipe)供 油管道

- return (relief) line (pipe)回油管道

- nested pipe (pipe in pipe)system 套管式

- demister除油雾器

- fan 风机

- mist separator 油污分离器

- oil purifier净油装置，油净化器

- oil filter 滤油器

- oil cooler 冷油器

- overflow valve 溢流阀

- oil vapour 油雾，油气

- main oil pump( shaft driven)主 油泵

- impeller (主油泵)叶轮

- switch-over (change-over)切^

- Gland system 汽封系统

- Labyrinth gland拉别林汽封，迷宫式汽封

- gland housing (casing)汽 封体

- gland segment 汽封弧段

- gland (sealing) ring 汽封环

- gland strip (comb)汽 封片(齿)

- brush sealing 刷子汽封

- leaf sealing 薄叶汽封

- diaphragm gland 隔板汽封

- gland over shroud (tip gland)围带汽封

- shaft gland 轴封

- gland steam condenser (cooler )汽封冷却器

- spring-back sealing 回弹式汽封

- gland leak-off 漏汽

- gland ejector 汽封抽气器

- packing盘根，填函，汽封

- inner (outer) gland 内侧(外侧)汽封

- gland chamber (pocket)汽封腔室

- dummy ring (balance piston)平 衡环

- Drain system 疏水系统

- (drain) flash tank (疏水)扩容器

- drain port 疏水口

- cascade drain (system)逐 级疏水

- drain cooler疏水冷却器

- Bypass system 旁路系统

- capacity 容量

- HP (IP) bypass loop高压(中压)旁路回路

- start with bypass system 利用旁路系统启动

- desuperheating and reducing device 减温减压装置

- Regenerative system 回热系统

- HP heater高压给水加热器(高加)

- LP heater低压给水加热器(低加) deaerator除氧器

- terminal (temperature) difference (TTD)(温度)端差

- drain subcooler approach (DCA)疏 水过冷段

- shell side (design pressur e)壳侧(设计压力)

- tube side (design pressure)管 侧(设计压力)

- condensing zone 冷凝区

- drain subcooling zone 疏水过冷区

- direct contact (LP) heate r 混合式(低压)加热器

- U tube U 型管

- Reheat system 再热系统

- Cold reheat line再热冷端管道

- hot reheat line再热热端管道

- MSR (moisture separator reheater )汽水分离再热器

- (single) reheat (一次)再热

- double reheat 二次再热

VII Auxiliaries 辅机

- Condenser 凝汽器

- Shell-tube type heat exchanger 壳管式热交换器

- surface condenser 表面式凝汽器

- direct contact condenser 混合式凝汽器

- shell 壳体

- (divided) water box (chamber)(对分)水室

- tube bundle 管束

- tube plate (sheet)管板

- support plate 支承隔板

- tube cleaner管子清洗器

- sponge ball cleaning system 海绵球清洗系统

- double-shell condenser 双壳体凝汽器

- single pass condenser 单流程凝汽器

- air cooling zone 空气冷却区

339 air (cooled) condenser 空冷凝汽器

- vacuum system 真空系统

- evacuate 抽真空

- tube expander 胀管器

- condensate 冷凝水

- hot well (condensate sump)热井

- cooling rate 冷却速率

- cleanness 清洁度

- condensate pump 凝结水泵

- (condenser) neck (凝汽器)喉部

- expansion joint 膨胀接头

- wave type (bellows) compensator 波纹管补偿器

- deaerating capacity 除氧能力

- subcooling degree 过冷度

- non-condensed (condensable) gas 不凝结气体

- booster pump 增压泵

- Oil cooler 冷油器

- Filter 过滤器 strainer 滤网

- cartridge 滤芯

- vent 通风口

- clogging 堵塞

- twin-filter双联冷油器

- on-line change-over (switch-over)在线切换

- Ejector 抽气器

- Steam jet (air) ejector 射汽抽气器

- water jet (air) ejector 射水抽气器

- (water ring) vacuum pump (水环)真空泵

- evacuation 抽真空

- vacuum establishing (forming) 建立真空

- starting ejector 启动抽气器

- vacuum breaker 真空破坏阀

- Turning gear (device) or barring gear 盘车装置

- Bull gear 大齿轮

- driving gear 驱动装置

- worm and (worm) gear 涡轮蜗杆副

- turning by (every) 180°(每次)盘转 180 度

- jacking-up oil pump 顶轴油泵

- (dis) engagement 啮合(脱开)

VIII Operation 运彳亍

- Operation mode 运行方式 Start (up)启动

- (emergency) shut down (紧急)停机

- daily start- stop (DSS)日启停

- initial start 初次启动

- cold (state) start 冷态启动

- warm start 温态启动

- hot start热态启动

- extreme hot start 极热态启动

- base load (unit)基荷机组

- cyclic load 循环负荷

- peak load 峰荷

- peak shaving 调峰

- two-shift (operation)两班制(运行)

- cyclic duty capacity 变负荷能力

- life cycle (使用)寿命

- life expenditure (CLE)寿 命消耗

- life extension 寿命延长

- trip(ping)跳闸

- load tracking (following) capacity 负荷跟踪能力

- boiler-turbine coordination control 锅炉一汽机协调控制

- warming 暖机

- loading-up (down)升负荷(降负荷)

- unloading 甩负荷

- load throw-off 甩负荷

- run up 升速

- run away 飞车

- idle running惰行，空负荷运行

- speed up 升速

402 synchronization 同步

- synchronizer 同步器

- connect to grid 并网

- rolling (by steam)冲 转(用蒸汽)

- fixed pressure (start)定压(启动)

- sliding pressure (start)滑 压(启动)

- combined (hybrid) fixed/sliding pressure operation 定压/滑压混合运行方式

- routine inspection 日常检查

- planned maintenance 计划维修

- overhaul (intervel)大 修(间隔期)

- forced outage rate (FOR)强迫停机率

- repair 检修

- availability 可用率

- reliability 可靠性

- control room 控制室

- corrosion 腐蚀 erosion 浸蚀，水涮

- stress corrosion cracking (SCC)应力腐蚀裂纹

- latch-on (rese t)挂闸

- commission调试，试运行，交付使用 boiler house:锅炉房

coal conveyor输煤装置

coal bunker:煤仓

coal mill:磨煤机

steam boiler, water boiler tube:蒸汽锅炉，管式锅炉 furnace(combustion chamber):炉膛(燃烧室) water tube:水管

ash pit灰坑

superheater:过热器

water preheater:水预热器

air preheater: 空气预热器

gas duct(flue):烟气管,烟道

dust collecting plant:集尘室

electrical precipitation plant: 电气除尘室

induced draught fan:引风机

chimney:烟囱

deaerator:除氧器

feed water tank:供水箱

boiler feed pump:给水泵

switchgear:开关设备

cable tunnel:电缆通道

cable cellar:电缆槽

turbine room:汽轮机室

steam turbine with alternator:蒸汽汽轮发电机组

economizer:省煤器

steam drum:汽包

surface condenser:表面凝汽

low-pressure preheater:低压预热器

circulating water pipe(pump):循环水管

control room:控制室

electrostatic dust remover(precipitator):静电除尘器 pulverizer 磨煤机

slag pump灰渣泵

thermal cycle:热力循环

(net)heat rate:(净)热耗率

Assemblie:集合，集结，组装

comment注释，评论

module :模块

standby:备用

proximity 相近，接近，亲近

detector:探测器

bracket:支架

interlocks互锁，联锁

axial:轴向的

surge conditions:喘振:

accessory:附件

pulsation:有节奏的跳动，跳动

fossil fired:燃煤

intent:意图，目的，意向

intend:意指，想要，打算

consistent: 一致的，调和的

practice:惯例，实习，实践

intrinsic:固有的，内在的

procurement获得，获取

fabrication:制作，构成，伪造物

vent:通风孔，出烟孔，出口，放出，排出，

noncondensible gas:不凝结气体

intermittent间歇的，断断续续的

blowdown :排污

tank:桶，箱，罐

diagram:图表

corrosion :侵蚀，腐蚀状态

concentration集中，集合，浓缩，浓度

recommend推荐，介绍，托付，劝告

abnormal and normal conditions: 变工况和额定工况

warm up:暖机

acid wash:酸洗

scale:范围，水垢，水锈，比例，刻度

sludge ::污泥，淤泥

foreign matter:不相关的物质

facilitate:推动，促进，使简化

multistage:多级的

remote control:遥控

safety relief valve:安全卸压阀

gauge:量规，量表，测量

manhole:人孔，检修孔

equivalent:等价物，相等的

forging::锻造

seat:部位，座

socket welding:管座焊接

enthalpy:焓

estimate:评价，评估，估价

parameters参数，参量

nominal :名义上的，额定的，标称的

MS — Main Steam :主蒸汽

Cycle::循环

Intercept:截止

Fetting:附件

Gage::规，表，压力计

Taps:接头

test wells:测点插孔

stress-relieved:应力消除

thermometer:恒温计

steam purge system:蒸汽吹扫系统

centrifugal type pumps: 离心式泵

friction losses:磨擦损失

solenoid:螺线管

modulat:调整，调节

criteria:标准

wrenches:扳手

pipe taps:管接头.

A List of Abbreviations and Symbols in English-Chinese

A ::Ash Handling System:除灰系统

AH :Air Heater:空气预热器

AAh :Analyzer, Alarm High :分析器，高值报警

::AIV :Air Intake Valve:进气阀

ALIGN Alignment:校正

ALKF :Airlock Feeder:锁气器

AP ::Ash Slurry Pump:灰浆泵

ATM :Atmosphere 大气

AC ::Air Conditioner:空气调节器

AFT :Atmosphere Flash Tank:大气扩容器

AC :Alternating Current:交流电

ALM :Alarm::报警

AMP :Ampere:安培

AX THR BRG :Axis Thrust Bearing:轴向推力，轴承

ATMZ :Atomizing:雾化

AUTO :Automation 自动

AUX :Auxiliary:辅助的

BA :Bottom Ash 底灰

BAH ::Bottom Ash Hopper:底灰斗

BLR ::Boiler:锅炉

BSD ::Boiler Shut Down:停炉

BUSH :Bushing:衬套

BYPS :Bypass::旁路

BVD ::Boiler Vents and Drains::锅炉疏水放气

BFP :Boiler Feedwater Pump ::锅炉给水泵

BFPT ::Boiler Feedwater Pump Turbine:锅炉给水泵汽机

BFW ::Boiler Feedwater:锅炉给水

BM :Boiler Master 锅炉主控

BMCR :Boiler Maximum Continuous Rating:锅炉最大连续出力

BFBP:: Boiler Feed Booster Pump :锅炉给水增压泵

BNR :Burner:燃烧器

BOP :Balance Of Plant:电厂辅机设备

BPC :Blade Pitch Control:叶片节距控制

BT :Boiler Tube:炉管

CH: Crusher House:碎煤房

COMB ::Combustion 燃烧

COMP ::Compressed Air:压缩空气

CONV ::Conveyer:输送机

CPL :Control Pannel Local:就地控制盘

CPM :Control Pannel Main:主控盘

CRT :Cathode Ray Tube:阴极射线管：

CT Current Transformer:变流器

CYCL :Cyclone:旋风分离器

CAS :Casing::缸、壳

CB Circuit Breaker:断路器

COMP :Complete:完成

CCCW :Closed Circulating Cooling Water:闭式循环冷却水

CCW :Cycle Cooling Water:循环水

CCWHF ::Closed Cooling Water Heater 闭式冷却水冷却器

CCWP :Closed Cooling WaterPump:闭式冷却水泵

CS :Closed Cooling Water System 闭式冷却水系统

CH Coal Handling 煤的装卸

CHK VLV :Check Valve:逆止阀

CIRC: Circulation:循环

CLR Cooler:冷却器

CLOW :Cooling Water:冷却水

CMPR :Compressor:压缩机

CNTLE :Controller::控制器

COND :Condensate:凝结水

CONDTY :Conductivity:导电率

CP: Condensate Pump:凝结泵

CIR: Circuit:回路

CP: Condensate Polisher:除盐装置

CS: Control Switch 控制开关

CRSV :Cold Reheat Safety Valve:再热器冷段安全阀

CV: Control Valve :控制阀

CWP: Circulation Water Pump:循环水泵

DMPR: Damper :挡板	隔板 diaphragm

DP Difference Pressure:差压

DPIC: Differential Pressure Indicating Controller:压差指示控制器

DPT: Differential Pressure Transmitter 压差变送器

DV Drain Valve::疏水阀

DC Direct Current:直流电

DSH: Desuperheater:减温器

DCA: Drain Cooler Approach:疏水冷却器通道

DEAER Deaerator:除氧器

DEV: Deviation:偏差

DIFFRLY: Differential Relay:差动继电器

DISCH VLV :Discharge Valve 排放阀

DIST: Disturbance::故障、扰动

DSCH: Discharge:排出

EP Electrical Static Precipitator:静电除尘器

ECC Eccentricity :: 偏心

EFF Efficiency:效率

EHC Electric Hydraulic Control:电液控制

EO Electric Operate:电气操作

EQ Equipment:设备

ER Error:误差

ES :Extraction System 抽气系统

ESC Escape:逃逸、超出

ESS Engineering Safety System:保安系统

EU Engineering Unit : 工程单位

EXH Exhaust:排汽

EXT Extract:抽出

FA :Fine Ash :细灰

FDR Feeder:给料机

FE :Flow Element::流量元件

FI :Flow Indicator::流量指示件

FDBK: Feedback:反馈

FITG Fitting:连接件

FLW Flow 流量

FO :Fail Open:故障时自动打开

FT: Flow Totalizer:流量累加器

FT :Flow transmitter:流量变送器

FV :Flow Control Valve 流量控制阀

FY :Flow Relay or Valve 流量传送器

FA: Failure Alarm:故障报警

FD :Forced Draft :强制通风

FDF Forced Draft Fan:送风机

FIC :Flow Indicate Controller:流量指示控制器

FLT :Flash Tank :扩容箱

FLD :Field 磁场

FLG :Flange:法兰

FLM Flame:火焰

FWH Feed Water Heater 给水加热器

FO :Fuel Oil:燃油

FREQ Frequency:频率

FURN Furnace:炉膛

GLD Gland:密封

GRDR Grinder:碎渣机

GND Grounding:接地

GC :Generator Cooling:发电机冷却

GESE Gland Steam Condenser Exhauster:轴加风机

GMT Generator Main Trandformer:发电机变压器

GRAD Grandient:梯度

GS :Gland Steam:轴封蒸汽

GSC :Gland Steam Condenser:轴封加热器

GV :Governor Valve:高压调门

H ::Heat Conservation 保温

HS: Hand Switch::手动开关

HTR Heater:加热器

HV: Hand Control Valve:手动控制器

HY: Hand Relay or Transducer 手动继电器（转换器）

H :Hand:手动的

HB :Heat Balance:热平衡

HD :Heater Drain::加热器疏水

HDR :Header:联箱

HL ::Heat Loss:热损失

HMDY Humidity:湿度

HPH: High Pressure Heater:高压加热器

HPR :Hooper:漏斗

HPT :High Pressure Turbine:高压汽机

HR: Hot Reheat:再热器热段

HR: Heat Rate:热耗率

HSV: Hot Reheat Safety Valve:再热器热段安全阀

HVAC :Heating Ventilation & Air Conditioning::暖通

HW :Hotwell:热井

HV ::Hand Control Valve:手动控制器

HYD :Hydraulic:液力的

INTLK :Interlock :联锁

IC :Instrument and Control::仪表与控制（热工）

ICV ::Inrtermediate Control Valve 中压控制阀

ID :Induced Draft 抽风，引风

IDF ::Induced Draft Fan:引风机

IGN ::Ignition :点火装置

INLT :Inlet:入口

IPR ::Initial Pressure:初压

INST :Instrument:仪表

INVR :Inverter:逆变器

I /O:: Input/Output 输入 / 输出

IP :Intermediate Pressure: 中压

ISV ::Intermediate Pressure Turbine Steam Valve:中压缸进汽阀

JP :Jet Pump:喷射器

LG :Level Gauge 液位计

LVL ::Level:水位，液位

LA :Level Alarm:液位报警

LIM（LMIR）: Limit er:限制器

LKG:: Leakage::泄漏

LP :Low Pressure 低压

L.P :Low Point :低位

LPH: Low Pressure Heater:低压加热器

LSH: Local Switch Hand:就地开关

LUB: Lubricating Oil:润滑油

M :Mechanical:机械

M :Motor:马达

MAG:: Magnetic::磁性

MOD ::Mode:方式：

M/A :Manual/Automatic:手动 / 自动

MAN ::Manual ::手动

MARG: Margin::裕量

MAX ::Maximum:最大的，最大值的

MCR ::Maximum Continuous Rating 最大连续出力

MCV:: Main Control Valve:主控制阀

MD :Modulation Damper:调节挡板

MDBFP: Motor Driven Boiler Feedwater Pump:电动给水泵

MEAS ::Measure :测量

MFT: Master Fuel Trip:主燃料跳闸

MIN :Minimum:最小的

MKUP (MU) Make-up:补充

ML :Mill:磨煤机

MN :Main:主要的

M.O, :Manual Operation:手操

MPT :Main Power Transformer:主变压器

MS :Main Steam 主蒸汽

MSV :Main Steam Valve:主汽阀

NOZ: Nozzle:喷嘴

NPSH :Net Pump Suction Head:泵的静吸压头

OL: Overload:过载

OLR :Overload Relay:过载继电器

OPER :Operation:运行

OSC :Oscillograph:示波器

OTLT: Outlet:出口

PA: Primary Air: 一次风

PAF :Primary Air Fan: 一次风机

PAH :Pressure Alarm High:高压报警

PAL :Pressure Alarm Low :低压报警

PB: Push Button 按钮

PC :Power Centre:动力中心

PC: Pressure Controller:压力控制器

P.C, :Pressure Control:压力控制

PCP :Precipitator 除尘器

PCV :Pressure Control Valve::压力控制阀

PDI :Pressure Differential Indication: 差压指示

PDT :Pressure Differential Trandsmitter:差压变送器

PED :Pdestal::轴承座

PERF CALC Performance Calculation::性能计算

PF: Power Factor 功率因数

PHTR: Preheater:预热器

PMP :Pump:泵

PNEU :Pneumatic:气动的

PR: Pressure Recorder:压力记录计

PRG :Purge:吹扫

PRV :Pressure Relief Valve:泄压阀

PRO :Protection:保护

PROGR:: Program:程序

PT: Pressure Transmitter:压力变送器

PULV: Pulverizer:磨煤机

PVSV :Pressure Vacuum Safety Valve 压力真空安全阀

PW: Plant Water 厂用水

PY: Pressure Relay:压力继电器

QA: Quality::质量，性能

RB: Run Back :快速降负荷

RCV :Recovering:回收

RECIRC:: Recirculation 再循环

RECT :Rectifier:整流器

RET :Return:返回

RH: Reheater:再热器

RO: Restriction Orifice:节流孔板

ROT :Rotor:转子

RTU :Remote Telemetry Unit::遥测装置

SA :Secondary Air:二次风

SAT: Saturate:饱和的

SC :Steam Coil Air Heater::暖风器

SCAV :Scavenge:吹扫

SD: Shut-off Damper:关断挡板：

Shut-Down 停机

SEP :Separator 分离器

SG: Switchgear 开关装置

SH: Superheater:过热器

SLS :Seals::密封

SO: Shut Off:关闭

SPD :Speed:转速

SPRA: Spray:喷水

SPT :Support:支持：

ST: Start:启动，开始

STD-BY :Stand By:备用

ST: System::系统

STM :Steam:蒸汽

STR: Stator::定子

STRNR: Strainer:滤器

SU: Start Up:启动

SV: Solenoid Valve:电磁阀

SUCT: Suction:吸入

SW: Switch:开关

:Steam Water:汽水

SBLWR: Soot Blower 吹灰器

TBFP Turbine Drive Boiler Feedwater Pump 汽泵

TCV :Temperature Control Valve 温度控制

T.B,: Transfer Damper:转换挡板

TE: Temperature Element:温度元件

TG: Turbine-generator:汽轮发电机

Turbine-gear: Turbine-gear:汽机盘车

THERM :Thermal 热力的

TMS: Turbine Master System:汽机主控系统

TRANS :Transfer:转换

以上内容仅为本文档的试下载部分，为可阅读页数的一半内容。如要下载或阅读全文，请访问：https://d.book118.com/576055212021010100