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I Power station 电站
1. [bookmark: bookmark0]power station 电站
2. [bookmark: bookmark1]power plant电站，发电设备
3. [bookmark: bookmark2]utility电力部门
[bookmark: bookmark3]4.independent power producer (IPP)独 立发电项目，独立发电站
5. [bookmark: bookmark4]nuclear power station 核电站
6. [bookmark: bookmark5]thermal power station 火电站
7. [bookmark: bookmark6]fossil (fired) power plan t化石燃料电站，常规火电站
8. [bookmark: bookmark7]combined heat power (CHP) plant 热电联供机组
9. [bookmark: bookmark8]steam power plant蒸汽电站，蒸汽发电设备
10. [bookmark: bookmark9]cogeneration power station 热电联供电站
11. [bookmark: bookmark10]coal fired power plant 燃煤电站
12. [bookmark: bookmark11]oil fired power plant 燃油电站
13. [bookmark: bookmark12]gas fired power plant 燃气电站
14. [bookmark: bookmark13]LNG power plant (liquefied natural gas)燃 液化天然气电站
15. [bookmark: bookmark14]BoP (balance of plant )电站辅机
16. [bookmark: bookmark15]I&C (instrumentation and control )仪表和控制系统
II Turbine透平，涡轮
17. [bookmark: bookmark16]Turbine透平，涡轮
18. [bookmark: bookmark17]steam turbine 汽轮机
19. [bookmark: bookmark18]gas turbine 燃气轮机
20. [bookmark: bookmark19]nuclear turbine 核电汽轮机
21. [bookmark: bookmark20]fossil turbine 火电汽轮机
22. [bookmark: bookmark21]industrial turbine 工业透平
23. [bookmark: bookmark22]cogeneration turbine 热电联供透平
24. [bookmark: bookmark23]condensing turbin e 凝汽式汽轮机
25. [bookmark: bookmark24]back pressure turbine 背压式汽轮机
26. [bookmark: bookmark25]extraction turbine 抽汽式汽轮机
27. [bookmark: bookmark26]extraction condensing turbine 抽汽凝汽式汽轮机
28. [bookmark: bookmark27]single-extraction turbine 单抽汽轮机
29. [bookmark: bookmark28]double-extraction turbine 双抽汽轮机
30. [bookmark: bookmark29]mechanical drive turbine 机械驱动汽轮机
31. [bookmark: bookmark30]HP (IP, LP) turbine 高(中、低)压缸
32. [bookmark: bookmark31]sub-critical pressure turbine 亚临界汽轮机
33. [bookmark: bookmark32]super-critical pressure (SC) turbine 超临界汽轮机
34. [bookmark: bookmark33]ultra-super critical (USC) pressure turbine 超朝临界汽轮机
35. [bookmark: bookmark34]BFPT (boiler feed pump turbine)给水泵汽轮机
36. [bookmark: bookmark35]steam turbine with air-cooled condenser(air cooled steam turbine)空冷汽轮机
37. [bookmark: bookmark36]reheat turbine 再热汽轮机
38. [bookmark: bookmark37]double-reheat turbine 二次再热汽轮机
39. [bookmark: bookmark38]wet steam turbine湿蒸汽汽轮机
40. [bookmark: bookmark39]saturated steam turbine 饱和蒸汽汽轮机
41. [bookmark: bookmark40]full-speed turbine 全速汽轮机
42. [bookmark: bookmark41]half-speed turbine 半速汽轮机
43. [bookmark: bookmark42]tandem compound turbine 单轴汽轮机
44. [bookmark: bookmark43]cross compound turbine 双轴汽轮机
45. [bookmark: bookmark44]super (over)-high pressure turbine 过高压汽轮机
46. [bookmark: bookmark45]impulse (type) turbin e 冲动式汽轮机
47. [bookmark: bookmark46]reaction (type) turbine 反动式汽轮机
48. [bookmark: bookmark47]axial flow turbine 轴流透平
49. [bookmark: bookmark48]radial flow turbine 径流透平
50. [bookmark: bookmark49]turbine with axial condenser 轴向排汽汽轮机
51. [bookmark: bookmark50]turbine with horizontal joint带有水平中分面的汽轮机
52. [bookmark: bookmark51]turbine with vertical joint带有垂直中分面的汽轮机
53. [bookmark: bookmark52]double flow turbine 两排汽汽轮机
54. [bookmark: bookmark53]triple flow turbine 三排汽汽轮机
56. [bookmark: bookmark54]single-casing turbine 单缸汽轮机
57. [bookmark: bookmark55]double-casing turbine 双缸汽轮机
58. [bookmark: bookmark56]turbine proper 汽轮机本体
59. [bookmark: bookmark57]oil turbine 油透平
60. [bookmark: bookmark58]hydraulic turbine 水轮机
61. [bookmark: bookmark59]marine steam turbine 船用汽轮机
62. [bookmark: bookmark60]aeroderivative gas turbine 航改式燃气轮机
63. [bookmark: bookmark61]stationary steam turbine 电站汽轮机
64. [bookmark: bookmark62]auxiliary turbine 辅助透平
III Rotary parts 回转件
65. [bookmark: bookmark63]rotor 转子
66. [bookmark: bookmark64]rigid rotor 刚性转子
67. [bookmark: bookmark65]flexible rotor 挠性转子
68. [bookmark: bookmark66]solid (forged) rotor (monobloc rotor)整锻转子
69. [bookmark: bookmark67]welded rotor 焊接转子
70. [bookmark: bookmark68](hollow) drum (type) rotor 鼓型转子
71. [bookmark: bookmark69]built-up rotor 组装转子
72. [bookmark: bookmark70]rotor without center bore 无中心孔转子
73. [bookmark: bookmark71]HP-LP integrated rotor 高/低压一体化转子
74. [bookmark: bookmark72]shafting (shaft)轴系
75. [bookmark: bookmark73]HP (IP, LP) rotor 高(中、低)压转子
76. [bookmark: bookmark74]thrust collar 推力盘
77. [bookmark: bookmark75]journal 轴颈
78. [bookmark: bookmark76]section of rotor 转子区段
79. [bookmark: bookmark77](first, second ) critical speed 一阶(二阶)临界转速
80. [bookmark: bookmark78]extension shaft (spacer)中间轴，延伸段
81. [bookmark: bookmark79]coupling 联轴节
82. [bookmark: bookmark80]flexible coupling 挠性联轴节
83. [bookmark: bookmark81]rigid coupling 刚性联轴节
84. [bookmark: bookmark82]semi-flexible coupling 半挠性联轴节
85. [bookmark: bookmark83]half coupling联轴节半部
86. [bookmark: bookmark84]integral (forged) coupling 整体(锻制)联轴节
87. [bookmark: bookmark85]shrunk-on coupling 红套联轴节
88. [bookmark: bookmark86]spigot (rabbet)止口
89. [bookmark: bookmark87]disk (disc)叶轮
90. [bookmark: bookmark88]rim (steeple)轮缘(根树型叶根槽)
91. [bookmark: bookmark89]hub轮毂
92. [bookmark: bookmark90]body(web)轮体
93. [bookmark: bookmark91]T ( fir tree-type ) groove T 型(枞树型)叶根槽
94. [bookmark: bookmark92]balance hole (plane, weight, plug)平衡孔(平衡平面，平衡配重，平衡旋塞)
95. [bookmark: bookmark93]keyway 键槽
96. [bookmark: bookmark94]disk of constant stress (conical profile)等强度(锥形)叶轮
97. [bookmark: bookmark95]disk of constant thickness 等厚度叶轮
98. [bookmark: bookmark96]shrunk-on disk 红套叶轮
99. [bookmark: bookmark97]blade 叶片
100. [bookmark: bookmark98]moving (rotating, rotor) blade 动叶
101. [bookmark: bookmark99]bucket 动叶
102. [bookmark: bookmark100]straight (tapered, twisted) blade 直叶片(变截面叶片，扭曲叶片)
103. [bookmark: bookmark101]last stage (last but one, penultimate) blade 末级叶轮(次末级叶片)
104. [bookmark: bookmark102]last (locking , gate) blade (piece)末 叶片(锁紧叶片，锁紧件)
105. [bookmark: bookmark103]free-stand blade 自由叶片
106. [bookmark: bookmark104]integral shroud blade 整体围带叶轮
107. [bookmark: bookmark105]triple-pin blade 三联叶片
108. [bookmark: bookmark106]bow blade马刀型叶片
109. [bookmark: bookmark107]compound lean blade 复合弯扭叶片
110. [bookmark: bookmark108]concave (pressure) side 内弧(压力侧)
111. [bookmark: bookmark109]convex (suction) side 背弧(负压侧)
112. [bookmark: bookmark110]tenon铆钉头
113. [bookmark: bookmark111]leading (inlet) edge 进汽边
114. [bookmark: bookmark112]trailing (outlet, exit) edge 出汽边
115. [bookmark: bookmark113]blade wake 叶片尾流
116. [bookmark: bookmark114]convergent-divergent channel (CD passage)缩张通道
117. [bookmark: bookmark115]brazed (stellite) shield 钎焊(斯太立)防蚀片
118. [bookmark: bookmark116]lacing hole 拉筋孔
119. [bookmark: bookmark117]profile (section of blade)叶型，型线部分(叶片截面)
120. [bookmark: bookmark118]reaction(degree)反动度
121. [bookmark: bookmark119]cascade 叶栅
122. [bookmark: bookmark120]blade root 叶根
123. [bookmark: bookmark121](three teeth, straight, curved ) fir- tree (blade) root (三齿直线/弧形)枞树型叶根
124. [bookmark: bookmark122]( five finger) fork type (blade) root (五叉)插入式叶根，叉型叶根
125. [bookmark: bookmark123]tee (T-type) root T 型叶根
126. [bookmark: bookmark124]inverted-T (blade) root 倒 T 型叶根
127. [bookmark: bookmark125]straddle-type (blade) root 外包叶根
128. [bookmark: bookmark126]straddle inverted T-root 外包倒 T 型叶根
129. [bookmark: bookmark127]dovetail root (serrated root)燕尾型(齿型)叶根
130. [bookmark: bookmark128]lacing (tie) wire 拉筋
131. [bookmark: bookmark129](lacing) lug (stub)拉筋凸台
132. [bookmark: bookmark130]loose lacing wire 松拉筋
133. [bookmark: bookmark131]tubular lacing wire 管状拉筋
134. [bookmark: bookmark132]shroud (band，cover)围带
135. [bookmark: bookmark133]whole circle packed (continuously connected) shroud 整圈连接围带
136. [bookmark: bookmark134]integral shroud 整体围带
137. [bookmark: bookmark135]snubber整体围带
138. [bookmark: bookmark136]gauging (throat)喉节比(喉部)
139. [bookmark: bookmark137]pitch diameter节径，平均直径
140. [bookmark: bookmark138]top diameter (叶片)顶部直径
IV. [bookmark: bookmark139]Stationary parts 静止件
141. [bookmark: bookmark140]casing (cylinder)汽 缸，缸体
142. [bookmark: bookmark141]outer casing 夕卜缸
143. [bookmark: bookmark142]inner casing 内缸
144. [bookmark: bookmark143]single-shell casing 单层缸
145. [bookmark: bookmark144]double-shell casing 双层缸
146. [bookmark: bookmark145]cover (upper half)上半部
147. [bookmark: bookmark146]base (lower half)下半部
148. [bookmark: bookmark147]horizontal (split) joint 水平中分面
149. [bookmark: bookmark148](massive)flange (厚)法兰
150. [bookmark: bookmark149](casing) bore (汽缸)洼窝
151. [bookmark: bookmark150]fastener (bolt, nut, stud, dowel)紧固件(螺栓、螺母、螺柱、定位销)
152. [bookmark: bookmark151]vertical flange 垂直法兰
153. [bookmark: bookmark152]tightness 气密性
154. [bookmark: bookmark153]inlet 进口
155. [bookmark: bookmark154]exhaust 排汽口
156. [bookmark: bookmark155]exhaust hood 排汽缸
157. [bookmark: bookmark156]guide plate 导流板
158. [bookmark: bookmark157]diffuser 扩压管
159. [bookmark: bookmark158]flange bolt hole 法兰螺栓孔
160. [bookmark: bookmark159]shrunk-on ring 红套箍环
161. [bookmark: bookmark160]combined HP-IP casing 高中压合缸
162. [bookmark: bookmark161]thermal shield (baffle)挡热板
163. [bookmark: bookmark162]single (double) flow HP turbine 单流(双流)高压缸
164. [bookmark: bookmark163]flow path (steam path)通 流部分
165. [bookmark: bookmark164]center support system 滑键系统
166. [bookmark: bookmark165]lug ( foot, pawl)猫爪
167. [bookmark: bookmark166]thermal insulation 保温设施
168. [bookmark: bookmark167]enclosure (lagging)罩壳(夕卜壳)
169. [bookmark: bookmark168]diaphragm 隔板
170. [bookmark: bookmark169]blade ring ( diaphragm carrier)叶片持环，隔板套
171. [bookmark: bookmark170]outer (inner) ring (of diaphragm)(隔板)外环(内环，隔板体)
172. [bookmark: bookmark171]stationary (stator, guide ,nozzle) blade 静叶，导叶，喷嘴
173. [bookmark: bookmark172]vane (partition)静叶
174. [bookmark: bookmark173]cast-in (welded-in) diaphragm 铸造(焊接)隔板
rotary diaphragm 回转隔板
175. [bookmark: bookmark174]nozzle block (chest)喷嘴组(喷嘴室)
176. [bookmark: bookmark175]diaphragm deflection 隔板挠度
177. [bookmark: bookmark176]bearing housing (pedestal)轴承箱
178. [bookmark: bookmark177]front bearing housing (standard)前轴承箱
179. [bookmark: bookmark178]rear bearing housing 后轴承箱
180. [bookmark: bookmark179]floor(-type) bearing 落地式轴承
181. [bookmark: bookmark180]bearing 轴承
182. [bookmark: bookmark181]journal (radial) bearing 支持轴承(径向轴承)
183. [bookmark: bookmark182]thrust ( axial) bearing 推力轴承(轴向轴承)
184. [bookmark: bookmark183]tilting pad bearing 可倾瓦轴承
185. [bookmark: bookmark184]Kingsburg type thrust bearing 金斯布里推力轴承
186. [bookmark: bookmark185]Babbitt (white metal, bearing metal)巴氏合金
187. [bookmark: bookmark186]bearing bush 轴承壳体
188. [bookmark: bookmark187]bearing body 轴承体
189. [bookmark: bookmark188]bearing pad 轴瓦
190. [bookmark: bookmark189]bearing cover (cap)轴承上半
191. [bookmark: bookmark190]360° bearing 整圆轴承
192. [bookmark: bookmark191]elliptical bearing 椭圆轴承
193. [bookmark: bookmark192]three wedge bearing 三油楔轴承
194. [bookmark: bookmark193]self-aligning bearing 自找中轴承
195. [bookmark: bookmark194]sleeve bearing 套筒式轴承
196. [bookmark: bookmark195]sliding bearing 滑动轴承
197. [bookmark: bookmark196](oil) pocket (wedge)油袋(油楔)
198. [bookmark: bookmark197]oil film 油膜
199. [bookmark: bookmark198]oil (film) whip 油膜振荡
200. [bookmark: bookmark199]setting pad (segment)安 装瓦块
201. [bookmark: bookmark200]working pad (segment)X 作瓦块
202. [bookmark: bookmark201]oil ring (oil deflector)挡油环
203. [bookmark: bookmark202]oil film stiffness 油膜刚度
204. [bookmark: bookmark203]armored thermocouple 铠装式热电偶
V. [bookmark: bookmark204]Main Valves主要阀门
205. [bookmark: bookmark205]Main (HP) stop valve (MSV)主汽阀
206. [bookmark: bookmark206]control (governing) valve (CV GV)调节阀
207. [bookmark: bookmark207]reheat (IP) stop valve(RSV)再热主汽阀
208. [bookmark: bookmark208]intercept valve 再热调节阀
209. [bookmark: bookmark209]Combined main stop/governing valve 联合式主汽 /调节阀
210. [bookmark: bookmark210]butterfly valve 蝶阀
211. [bookmark: bookmark211]piloted (pre-inlet) valve 预启阀
212. [bookmark: bookmark212]fast valve快速动作阀
213. [bookmark: bookmark213]check (non-return) valve 逆止阀
214. [bookmark: bookmark214]solenoid valve 电磁阀
215. [bookmark: bookmark215]motor driven (operated) valve 电动阀
216. [bookmark: bookmark216]drain valve 疏水阀
217. [bookmark: bookmark217]diaphragm valve (atmospher ic)膜片阀(大气阀)
218. [bookmark: bookmark218]relief (exhaust) valve 释放阀(放汽阀)
219. [bookmark: bookmark219]safety valve 安全阀
220. [bookmark: bookmark220]extraction valve 抽汽阀
221. [bookmark: bookmark221]stop valve 截止阀
222. [bookmark: bookmark222]flap valve 翻板阀
223. [bookmark: bookmark223]gate valve 闸阀
224. [bookmark: bookmark224]steam chest 蒸汽室
225. [bookmark: bookmark225](valve) stem 阀杆
226. [bookmark: bookmark226](valve) disk (plug)阀碟
227. [bookmark: bookmark227](valve ) seat 阀座
228. [bookmark: bookmark228](valve) bonnet (cover)阀帽(阀盖)
229. [bookmark: bookmark229]valve casing (chest)阀壳
230. [bookmark: bookmark230](valve) travel (stroke)阀门行程
231. [bookmark: bookmark231]cross over (cross under)连通管
232. [bookmark: bookmark232]anti-jamming(stick) test 防卡涩试验
VI. [bookmark: bookmark233]Various systems 各种系统
(1) [bookmark: bookmark234]Control system (control and protection system)调节系统(调节保安系统)
233. [bookmark: bookmark235]Electro-hydraulic control system 电液调节系统
234. [bookmark: bookmark236]hydro-mechanical control system 液压调节系统
235. [bookmark: bookmark237]DEH (digital electro-hydraulic control system)数 字式电液调节系统
236. [bookmark: bookmark238]electro-hydraulic converter 电液转换器
237. [bookmark: bookmark239]trip跳闸，脱扣
238. [bookmark: bookmark240]actuator执行机构
239. [bookmark: bookmark241]servomot or 油动机
240. [bookmark: bookmark242]pilot (slide, spool) valve 滑阀
241. [bookmark: bookmark243]piston 活塞
242. [bookmark: bookmark244]piston rod 活塞杆
243. [bookmark: bookmark245](oil) cylinder 油缸
244. [bookmark: bookmark246](oil) window 油口(窗)
245. [bookmark: bookmark247]overlap 覆盖度
246. [bookmark: bookmark248]emergency governor 危急遮断器
247. [bookmark: bookmark249]speed governor 调速器
248. [bookmark: bookmark250]MSV servomotor主汽阀油动机
249. [bookmark: bookmark251]spring support 操纵座
250. [bookmark: bookmark252]centrifugal stop bolt 撞击子
251. [bookmark: bookmark253]LVDT (linear variable differential transformer线性阀位传感器
252. [bookmark: bookmark254]safety test box 安全试验盒
253. [bookmark: bookmark255]relay继电器，继动器
254. [bookmark: bookmark256]relay valve 继动滑阀
255. [bookmark: bookmark257]axial displacement indicator (transducer)轴 向位移指示器(传感器)
256. [bookmark: bookmark258]overspeed protection 超速保护
257. [bookmark: bookmark259]differential expansion detector (transducer)差 胀检出器(传感器)
[bookmark: bookmark260]258 lever 杠杆
259. [bookmark: bookmark261](cam type) steam distribution device 凸轮式排汽机构
260. [bookmark: bookmark262]throttle governing 节流调节
261. [bookmark: bookmark263]nozzle governing 喷嘴调节
262. [bookmark: bookmark264]partial admission (degree )部分进汽(度)
263. [bookmark: bookmark265]full arc admission 全周进汽
264. [bookmark: bookmark266]governing (control) stage (Curtis stage)调节级(复速级)
(2) [bookmark: bookmark267]Oil system 油系统
265. [bookmark: bookmark268]Main oil reservoir (tank)主 油箱
266. [bookmark: bookmark269]turbine oil 透平油
267. [bookmark: bookmark270]fire-resistant fluid 抗燃油
268. [bookmark: bookmark271]lube (lubrication ) oil 润滑油
269. [bookmark: bookmark272]HP control fluid 高压控制油
270. [bookmark: bookmark273]pressure (feed) line (pipe)供 油管道
271. [bookmark: bookmark274]return (relief) line (pipe)回油管道
273. [bookmark: bookmark275]nested pipe (pipe in pipe)system 套管式
274. [bookmark: bookmark276]demister除油雾器
275. [bookmark: bookmark277]fan 风机
276. [bookmark: bookmark278]mist separator 油污分离器
277. [bookmark: bookmark279]oil purifier净油装置，油净化器
278. [bookmark: bookmark280]oil filter 滤油器
279. [bookmark: bookmark281]oil cooler 冷油器
280. [bookmark: bookmark282]overflow valve 溢流阀
281. [bookmark: bookmark283]oil vapour 油雾，油气
282. [bookmark: bookmark284]main oil pump( shaft driven)主 油泵
283. [bookmark: bookmark285]impeller (主油泵)叶轮
284. [bookmark: bookmark286]switch-over (change-over)切^
(3) [bookmark: bookmark287]Gland system 汽封系统
285. [bookmark: bookmark288]Labyrinth gland拉别林汽封，迷宫式汽封
286. [bookmark: bookmark289]gland housing (casing)汽 封体
287. [bookmark: bookmark290]gland segment 汽封弧段
288. [bookmark: bookmark291]gland (sealing) ring 汽封环
289. [bookmark: bookmark292]gland strip (comb)汽 封片(齿)
290. [bookmark: bookmark293]brush sealing 刷子汽封
291. [bookmark: bookmark294]leaf sealing 薄叶汽封
292. [bookmark: bookmark295]diaphragm gland 隔板汽封
293. [bookmark: bookmark296]gland over shroud (tip gland)围带汽封
294. [bookmark: bookmark297]shaft gland 轴封
295. [bookmark: bookmark298]gland steam condenser (cooler )汽封冷却器
296. [bookmark: bookmark299]spring-back sealing 回弹式汽封
297. [bookmark: bookmark300]gland leak-off 漏汽
298. [bookmark: bookmark301]gland ejector 汽封抽气器
299. [bookmark: bookmark302]packing盘根，填函，汽封
300. [bookmark: bookmark303]inner (outer) gland 内侧(外侧)汽封
301. [bookmark: bookmark304]gland chamber (pocket)汽封腔室
302. [bookmark: bookmark305]dummy ring (balance piston)平 衡环
(4) [bookmark: bookmark306]Drain system 疏水系统
303. [bookmark: bookmark307](drain) flash tank (疏水)扩容器
304. [bookmark: bookmark308]drain port 疏水口
305. [bookmark: bookmark309]cascade drain (system)逐 级疏水
306. [bookmark: bookmark310]drain cooler疏水冷却器
(5) [bookmark: bookmark311]Bypass system 旁路系统
307. [bookmark: bookmark312]capacity 容量
308. [bookmark: bookmark313]HP (IP) bypass loop高压(中压)旁路回路
309. [bookmark: bookmark314]start with bypass system 利用旁路系统启动
310. [bookmark: bookmark315]desuperheating and reducing device 减温减压装置
(6) [bookmark: bookmark316]Regenerative system 回热系统
311. [bookmark: bookmark317]HP heater高压给水加热器(高加)
312. [bookmark: bookmark318]LP heater低压给水加热器(低加) deaerator除氧器
313. [bookmark: bookmark319]terminal (temperature) difference (TTD)(温度)端差
314. [bookmark: bookmark320]drain subcooler approach (DCA)疏 水过冷段
315. [bookmark: bookmark321]shell side (design pressur e)壳侧(设计压力)
316. [bookmark: bookmark322]tube side (design pressure)管 侧(设计压力)
317. [bookmark: bookmark323]condensing zone 冷凝区
318. [bookmark: bookmark324]drain subcooling zone 疏水过冷区
319. [bookmark: bookmark325]direct contact (LP) heate r 混合式(低压)加热器
320. [bookmark: bookmark326]U tube U 型管
(7) [bookmark: bookmark327]Reheat system 再热系统
321. [bookmark: bookmark328]Cold reheat line再热冷端管道
322. [bookmark: bookmark329]hot reheat line再热热端管道
323. [bookmark: bookmark330]MSR (moisture separator reheater )汽水分离再热器
324. [bookmark: bookmark331](single) reheat (一次)再热
325. [bookmark: bookmark332]double reheat 二次再热
VII Auxiliaries 辅机
(1) [bookmark: bookmark333]Condenser 凝汽器
326. [bookmark: bookmark334]Shell-tube type heat exchanger 壳管式热交换器
327. [bookmark: bookmark335]surface condenser 表面式凝汽器
328. [bookmark: bookmark336]direct contact condenser 混合式凝汽器
329. [bookmark: bookmark337]shell 壳体
330. [bookmark: bookmark338](divided) water box (chamber)(对分)水室
331. [bookmark: bookmark339]tube bundle 管束
332. [bookmark: bookmark340]tube plate (sheet)管板
333. [bookmark: bookmark341]support plate 支承隔板
334. [bookmark: bookmark342]tube cleaner管子清洗器
335. [bookmark: bookmark343]sponge ball cleaning system 海绵球清洗系统
336. [bookmark: bookmark344]double-shell condenser 双壳体凝汽器
337. [bookmark: bookmark345]single pass condenser 单流程凝汽器
338. [bookmark: bookmark346]air cooling zone 空气冷却区
[bookmark: bookmark347]339 air (cooled) condenser 空冷凝汽器
340. [bookmark: bookmark348]vacuum system 真空系统
341. [bookmark: bookmark349]evacuate 抽真空
342. [bookmark: bookmark350]tube expander 胀管器
343. [bookmark: bookmark351]condensate 冷凝水
344. [bookmark: bookmark352]hot well (condensate sump)热井
345. [bookmark: bookmark353]cooling rate 冷却速率
346. [bookmark: bookmark354]cleanness 清洁度
347. [bookmark: bookmark355]condensate pump 凝结水泵
348. [bookmark: bookmark356](condenser) neck (凝汽器)喉部
349. [bookmark: bookmark357]expansion joint 膨胀接头
350. [bookmark: bookmark358]wave type (bellows) compensator 波纹管补偿器
351. [bookmark: bookmark359]deaerating capacity 除氧能力
352. [bookmark: bookmark360]subcooling degree 过冷度
353. [bookmark: bookmark361]non-condensed (condensable) gas 不凝结气体
354. [bookmark: bookmark362]booster pump 增压泵
(2) [bookmark: bookmark363]Oil cooler 冷油器
355. [bookmark: bookmark364]Filter 过滤器 strainer 滤网
356. [bookmark: bookmark365]cartridge 滤芯
357. [bookmark: bookmark366]vent 通风口
358. [bookmark: bookmark367]clogging 堵塞
359. [bookmark: bookmark368]twin-filter双联冷油器
360. [bookmark: bookmark369]on-line change-over (switch-over)在线切换
(3) [bookmark: bookmark370]Ejector 抽气器
361. [bookmark: bookmark371]Steam jet (air) ejector 射汽抽气器
362. [bookmark: bookmark372]water jet (air) ejector 射水抽气器
363. [bookmark: bookmark373](water ring) vacuum pump (水环)真空泵
364. [bookmark: bookmark374]evacuation 抽真空
365. [bookmark: bookmark375]vacuum establishing (forming) 建立真空
366. [bookmark: bookmark376]starting ejector 启动抽气器
367. [bookmark: bookmark377]vacuum breaker 真空破坏阀
(4) [bookmark: bookmark378]Turning gear (device) or barring gear 盘车装置
368. [bookmark: bookmark379]Bull gear 大齿轮
369. [bookmark: bookmark380]driving gear 驱动装置
370. [bookmark: bookmark381]worm and (worm) gear 涡轮蜗杆副
371. [bookmark: bookmark382]turning by (every) 180°(每次)盘转 180 度
372. [bookmark: bookmark383]jacking-up oil pump 顶轴油泵
373. [bookmark: bookmark384](dis) engagement 啮合(脱开)
VIII Operation 运彳亍
374. [bookmark: bookmark385]Operation mode 运行方式 Start (up)启动
375. [bookmark: bookmark386](emergency) shut down (紧急)停机
376. [bookmark: bookmark387]daily start- stop (DSS)日启停
377. [bookmark: bookmark388]initial start 初次启动
378. [bookmark: bookmark389]cold (state) start 冷态启动
379. [bookmark: bookmark390]warm start 温态启动
380. [bookmark: bookmark391]hot start热态启动
381. [bookmark: bookmark392]extreme hot start 极热态启动
382. [bookmark: bookmark393]base load (unit)基荷机组
383. [bookmark: bookmark394]cyclic load 循环负荷
384. [bookmark: bookmark395]peak load 峰荷
385. [bookmark: bookmark396]peak shaving 调峰
386. [bookmark: bookmark397]two-shift (operation)两班制(运行)
387. [bookmark: bookmark398]cyclic duty capacity 变负荷能力
388. [bookmark: bookmark399]life cycle (使用)寿命
389. [bookmark: bookmark400]life expenditure (CLE)寿 命消耗
390. [bookmark: bookmark401]life extension 寿命延长
391. [bookmark: bookmark402]trip(ping)跳闸
392. [bookmark: bookmark403]load tracking (following) capacity 负荷跟踪能力
393. [bookmark: bookmark404]boiler-turbine coordination control 锅炉一汽机协调控制
394. [bookmark: bookmark405]warming 暖机
395. [bookmark: bookmark406]loading-up (down)升负荷(降负荷)
396. [bookmark: bookmark407]unloading 甩负荷
397. [bookmark: bookmark408]load throw-off 甩负荷
398. [bookmark: bookmark409]run up 升速
399. [bookmark: bookmark410]run away 飞车
400. [bookmark: bookmark411]idle running惰行，空负荷运行
401. [bookmark: bookmark412]speed up 升速
[bookmark: bookmark413]402 synchronization 同步
403. [bookmark: bookmark414]synchronizer 同步器
404. [bookmark: bookmark415]connect to grid 并网
405. [bookmark: bookmark416]rolling (by steam)冲 转(用蒸汽)
406. [bookmark: bookmark417]fixed pressure (start)定压(启动)
407. [bookmark: bookmark418]sliding pressure (start)滑 压(启动)
408. [bookmark: bookmark419]combined (hybrid) fixed/sliding pressure operation 定压/滑压混合运行方式
409. [bookmark: bookmark420]routine inspection 日常检查
410. [bookmark: bookmark421]planned maintenance 计划维修
411. [bookmark: bookmark422]overhaul (intervel)大 修(间隔期)
412. [bookmark: bookmark423]forced outage rate (FOR)强迫停机率
413. [bookmark: bookmark424]repair 检修
414. [bookmark: bookmark425]availability 可用率
415. [bookmark: bookmark426]reliability 可靠性
416. [bookmark: bookmark427]control room 控制室
417. [bookmark: bookmark428]corrosion 腐蚀 erosion 浸蚀，水涮
418. [bookmark: bookmark429]stress corrosion cracking (SCC)应力腐蚀裂纹
419. [bookmark: bookmark430]latch-on (rese t)挂闸
420. [bookmark: bookmark431]commission调试，试运行，交付使用 boiler house:锅炉房
coal conveyor输煤装置
coal bunker:煤仓
coal mill:磨煤机
steam boiler, water boiler tube:蒸汽锅炉，管式锅炉 furnace(combustion chamber):炉膛(燃烧室) water tube:水管
ash pit灰坑
superheater:过热器
water preheater:水预热器
air preheater: 空气预热器
gas duct(flue):烟气管,烟道
dust collecting plant:集尘室
electrical precipitation plant: 电气除尘室
induced draught fan:引风机
chimney:烟囱
deaerator:除氧器
feed water tank:供水箱
boiler feed pump:给水泵
switchgear:开关设备
cable tunnel:电缆通道
cable cellar:电缆槽
turbine room:汽轮机室
steam turbine with alternator:蒸汽汽轮发电机组
economizer:省煤器
steam drum:汽包
surface condenser:表面凝汽
low-pressure preheater:低压预热器
circulating water pipe(pump):循环水管
control room:控制室
electrostatic dust remover(precipitator):静电除尘器 pulverizer 磨煤机
slag pump灰渣泵
thermal cycle:热力循环
(net)heat rate:(净)热耗率
Assemblie:集合，集结，组装
comment注释，评论
module :模块
standby:备用
proximity 相近，接近，亲近
detector:探测器
bracket:支架
interlocks互锁，联锁
axial:轴向的
surge conditions:喘振:
accessory:附件
pulsation:有节奏的跳动，跳动
fossil fired:燃煤
intent:意图，目的，意向
intend:意指，想要，打算
consistent: 一致的，调和的
practice:惯例，实习，实践
intrinsic:固有的，内在的
procurement获得，获取
fabrication:制作，构成，伪造物
vent:通风孔，出烟孔，出口，放出，排出，
noncondensible gas:不凝结气体
intermittent间歇的，断断续续的
blowdown :排污
tank:桶，箱，罐
diagram:图表
corrosion :侵蚀，腐蚀状态
concentration集中，集合，浓缩，浓度
recommend推荐，介绍，托付，劝告
abnormal and normal conditions: 变工况和额定工况
warm up:暖机
acid wash:酸洗
scale:范围，水垢，水锈，比例，刻度
sludge ::污泥，淤泥
foreign matter:不相关的物质
facilitate:推动，促进，使简化
multistage:多级的
remote control:遥控
safety relief valve:安全卸压阀
gauge:量规，量表，测量
manhole:人孔，检修孔
equivalent:等价物，相等的
forging::锻造
seat:部位，座
socket welding:管座焊接
enthalpy:焓
estimate:评价，评估，估价
parameters参数，参量
nominal :名义上的，额定的，标称的
MS — Main Steam :主蒸汽
Cycle::循环
Intercept:截止
Fetting:附件
Gage::规，表，压力计
Taps:接头
test wells:测点插孔
stress-relieved:应力消除
thermometer:恒温计
steam purge system:蒸汽吹扫系统
centrifugal type pumps: 离心式泵
friction losses:磨擦损失
solenoid:螺线管
modulat:调整，调节
criteria:标准
wrenches:扳手
pipe taps:管接头.
A List of Abbreviations and Symbols in English-Chinese
A ::Ash Handling System:除灰系统
AH :Air Heater:空气预热器
AAh :Analyzer, Alarm High :分析器，高值报警
::AIV :Air Intake Valve:进气阀
ALIGN Alignment:校正
ALKF :Airlock Feeder:锁气器
AP ::Ash Slurry Pump:灰浆泵
ATM :Atmosphere 大气
AC ::Air Conditioner:空气调节器
AFT :Atmosphere Flash Tank:大气扩容器
AC :Alternating Current:交流电
ALM :Alarm::报警
AMP :Ampere:安培
AX THR BRG :Axis Thrust Bearing:轴向推力，轴承
ATMZ :Atomizing:雾化
AUTO :Automation 自动
AUX :Auxiliary:辅助的
BA :Bottom Ash 底灰
BAH ::Bottom Ash Hopper:底灰斗
BLR ::Boiler:锅炉
BSD ::Boiler Shut Down:停炉
BUSH :Bushing:衬套
BYPS :Bypass::旁路
BVD ::Boiler Vents and Drains::锅炉疏水放气
BFP :Boiler Feedwater Pump ::锅炉给水泵
BFPT ::Boiler Feedwater Pump Turbine:锅炉给水泵汽机
BFW ::Boiler Feedwater:锅炉给水
BM :Boiler Master 锅炉主控
BMCR :Boiler Maximum Continuous Rating:锅炉最大连续出力
BFBP:: Boiler Feed Booster Pump :锅炉给水增压泵
BNR :Burner:燃烧器
BOP :Balance Of Plant:电厂辅机设备
BPC :Blade Pitch Control:叶片节距控制
BT :Boiler Tube:炉管
CH: Crusher House:碎煤房
COMB ::Combustion 燃烧
COMP ::Compressed Air:压缩空气
CONV ::Conveyer:输送机
CPL :Control Pannel Local:就地控制盘
CPM :Control Pannel Main:主控盘
CRT :Cathode Ray Tube:阴极射线管：
CT Current Transformer:变流器
CYCL :Cyclone:旋风分离器
CAS :Casing::缸、壳
CB Circuit Breaker:断路器
COMP :Complete:完成
CCCW :Closed Circulating Cooling Water:闭式循环冷却水
CCW :Cycle Cooling Water:循环水
CCWHF ::Closed Cooling Water Heater 闭式冷却水冷却器
CCWP :Closed Cooling WaterPump:闭式冷却水泵
CS :Closed Cooling Water System 闭式冷却水系统
CH Coal Handling 煤的装卸
CHK VLV :Check Valve:逆止阀
CIRC: Circulation:循环
CLR Cooler:冷却器
CLOW :Cooling Water:冷却水
CMPR :Compressor:压缩机
CNTLE :Controller::控制器
COND :Condensate:凝结水
CONDTY :Conductivity:导电率
CP: Condensate Pump:凝结泵
CIR: Circuit:回路
CP: Condensate Polisher:除盐装置
CS: Control Switch 控制开关
CRSV :Cold Reheat Safety Valve:再热器冷段安全阀
CV: Control Valve :控制阀
CWP: Circulation Water Pump:循环水泵
DMPR: Damper :挡板	隔板 diaphragm
DP Difference Pressure:差压
DPIC: Differential Pressure Indicating Controller:压差指示控制器
DPT: Differential Pressure Transmitter 压差变送器
DV Drain Valve::疏水阀
DC Direct Current:直流电
DSH: Desuperheater:减温器
DCA: Drain Cooler Approach:疏水冷却器通道
DEAER Deaerator:除氧器
DEV: Deviation:偏差
DIFFRLY: Differential Relay:差动继电器
DISCH VLV :Discharge Valve 排放阀
DIST: Disturbance::故障、扰动
DSCH: Discharge:排出
EP Electrical Static Precipitator:静电除尘器
ECC Eccentricity :: 偏心
EFF Efficiency:效率
EHC Electric Hydraulic Control:电液控制
EO Electric Operate:电气操作
EQ Equipment:设备
ER Error:误差
ES :Extraction System 抽气系统
ESC Escape:逃逸、超出
ESS Engineering Safety System:保安系统
EU Engineering Unit : 工程单位
EXH Exhaust:排汽
EXT Extract:抽出
FA :Fine Ash :细灰
FDR Feeder:给料机
FE :Flow Element::流量元件
FI :Flow Indicator::流量指示件
FDBK: Feedback:反馈
FITG Fitting:连接件
FLW Flow 流量
FO :Fail Open:故障时自动打开
FT: Flow Totalizer:流量累加器
FT :Flow transmitter:流量变送器
FV :Flow Control Valve 流量控制阀
FY :Flow Relay or Valve 流量传送器
FA: Failure Alarm:故障报警
FD :Forced Draft :强制通风
FDF Forced Draft Fan:送风机
FIC :Flow Indicate Controller:流量指示控制器
FLT :Flash Tank :扩容箱
FLD :Field 磁场
FLG :Flange:法兰
FLM Flame:火焰
FWH Feed Water Heater 给水加热器
FO :Fuel Oil:燃油
FREQ Frequency:频率
FURN Furnace:炉膛
GLD Gland:密封
GRDR Grinder:碎渣机
GND Grounding:接地
GC :Generator Cooling:发电机冷却
GESE Gland Steam Condenser Exhauster:轴加风机
GMT Generator Main Trandformer:发电机变压器
GRAD Grandient:梯度
GS :Gland Steam:轴封蒸汽
GSC :Gland Steam Condenser:轴封加热器
GV :Governor Valve:高压调门
H ::Heat Conservation 保温
HS: Hand Switch::手动开关
HTR Heater:加热器
HV: Hand Control Valve:手动控制器
HY: Hand Relay or Transducer 手动继电器（转换器）
H :Hand:手动的
HB :Heat Balance:热平衡
HD :Heater Drain::加热器疏水
HDR :Header:联箱
HL ::Heat Loss:热损失
HMDY Humidity:湿度
HPH: High Pressure Heater:高压加热器
HPR :Hooper:漏斗
HPT :High Pressure Turbine:高压汽机
HR: Hot Reheat:再热器热段
HR: Heat Rate:热耗率
HSV: Hot Reheat Safety Valve:再热器热段安全阀
HVAC :Heating Ventilation & Air Conditioning::暖通
HW :Hotwell:热井
HV ::Hand Control Valve:手动控制器
HYD :Hydraulic:液力的
INTLK :Interlock :联锁
IC :Instrument and Control::仪表与控制（热工）
ICV ::Inrtermediate Control Valve 中压控制阀
ID :Induced Draft 抽风，引风
IDF ::Induced Draft Fan:引风机
IGN ::Ignition :点火装置
INLT :Inlet:入口
IPR ::Initial Pressure:初压
INST :Instrument:仪表
INVR :Inverter:逆变器
I /O:: Input/Output 输入 / 输出
IP :Intermediate Pressure: 中压
ISV ::Intermediate Pressure Turbine Steam Valve:中压缸进汽阀
JP :Jet Pump:喷射器
LG :Level Gauge 液位计
LVL ::Level:水位，液位
LA :Level Alarm:液位报警
LIM（LMIR）: Limit er:限制器
LKG:: Leakage::泄漏
LP :Low Pressure 低压
L.P :Low Point :低位
LPH: Low Pressure Heater:低压加热器
LSH: Local Switch Hand:就地开关
LUB: Lubricating Oil:润滑油
M :Mechanical:机械
M :Motor:马达
MAG:: Magnetic::磁性
MOD ::Mode:方式：
M/A :Manual/Automatic:手动 / 自动
MAN ::Manual ::手动
MARG: Margin::裕量
MAX ::Maximum:最大的，最大值的
MCR ::Maximum Continuous Rating 最大连续出力
MCV:: Main Control Valve:主控制阀
MD :Modulation Damper:调节挡板
MDBFP: Motor Driven Boiler Feedwater Pump:电动给水泵
MEAS ::Measure :测量
MFT: Master Fuel Trip:主燃料跳闸
MIN :Minimum:最小的
MKUP (MU) Make-up:补充
ML :Mill:磨煤机
MN :Main:主要的
M.O, :Manual Operation:手操
MPT :Main Power Transformer:主变压器
MS :Main Steam 主蒸汽
MSV :Main Steam Valve:主汽阀
NOZ: Nozzle:喷嘴
NPSH :Net Pump Suction Head:泵的静吸压头
OL: Overload:过载
OLR :Overload Relay:过载继电器
OPER :Operation:运行
OSC :Oscillograph:示波器
OTLT: Outlet:出口
PA: Primary Air: 一次风
PAF :Primary Air Fan: 一次风机
PAH :Pressure Alarm High:高压报警
PAL :Pressure Alarm Low :低压报警
PB: Push Button 按钮
PC :Power Centre:动力中心
PC: Pressure Controller:压力控制器
P.C, :Pressure Control:压力控制
PCP :Precipitator 除尘器
PCV :Pressure Control Valve::压力控制阀
PDI :Pressure Differential Indication: 差压指示
PDT :Pressure Differential Trandsmitter:差压变送器
PED :Pdestal::轴承座
PERF CALC Performance Calculation::性能计算
PF: Power Factor 功率因数
PHTR: Preheater:预热器
PMP :Pump:泵
PNEU :Pneumatic:气动的
PR: Pressure Recorder:压力记录计
PRG :Purge:吹扫
PRV :Pressure Relief Valve:泄压阀
PRO :Protection:保护
PROGR:: Program:程序
PT: Pressure Transmitter:压力变送器
PULV: Pulverizer:磨煤机
PVSV :Pressure Vacuum Safety Valve 压力真空安全阀
PW: Plant Water 厂用水
PY: Pressure Relay:压力继电器
QA: Quality::质量，性能
RB: Run Back :快速降负荷
RCV :Recovering:回收
RECIRC:: Recirculation 再循环
RECT :Rectifier:整流器
RET :Return:返回
RH: Reheater:再热器
RO: Restriction Orifice:节流孔板
ROT :Rotor:转子
RTU :Remote Telemetry Unit::遥测装置
SA :Secondary Air:二次风
SAT: Saturate:饱和的
SC :Steam Coil Air Heater::暖风器
SCAV :Scavenge:吹扫
SD: Shut-off Damper:关断挡板：
Shut-Down 停机
SEP :Separator 分离器
SG: Switchgear 开关装置
SH: Superheater:过热器
SLS :Seals::密封
SO: Shut Off:关闭
SPD :Speed:转速
SPRA: Spray:喷水
SPT :Support:支持：
ST: Start:启动，开始
STD-BY :Stand By:备用
ST: System::系统
STM :Steam:蒸汽
STR: Stator::定子
STRNR: Strainer:滤器
SU: Start Up:启动
SV: Solenoid Valve:电磁阀
SUCT: Suction:吸入
SW: Switch:开关
:Steam Water:汽水
SBLWR: Soot Blower 吹灰器
TBFP Turbine Drive Boiler Feedwater Pump 汽泵
TCV :Temperature Control Valve 温度控制
T.B,: Transfer Damper:转换挡板
TE: Temperature Element:温度元件
TG: Turbine-generator:汽轮发电机
Turbine-gear: Turbine-gear:汽机盘车
THERM :Thermal 热力的
TMS: Turbine Master System:汽机主控系统
TRANS :Transfer:转换
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