本 科 毕 业 论 文（设 计）

论文题目：蓄电池充放电管理的单片机控制系统设计

# 摘    要

随着现代科技的不断发展，蓄电池作为能源提供单元在许多设备中扮演着重要的角色，如太阳能电池板、无线电台、无人机等的储能元件都会利用到各种类型的蓄电池。但是，蓄电池的使用寿命和性能受到多种因素的影响，如过充、欠充、亏电等状态都会对蓄电池造成损害。因此，自动充放电系统的设计对于保护蓄电池有积极的意义。而在自动控制系统中，单片机作为重要的控制器，能够对充放电过程进行精准的管理控制，保证蓄电池处于合适的充放电状态，防止过充和过放现象的发生。所以，利用单片机合理管控蓄电池自动充放电成为了工程领域中的一个重要研究方向。

本文则针对此研究方向，通过设计合理的充放电电路及单片机控制程序，使其可以通过单片机对蓄电池的进行不间断的电压检测和温度检测，并进行自动管理，从而实现对蓄电池的保护。在该系统中，单片机作为自动充放电管理的重要器件，能够对蓄电池的电量进行准确、及时的监测和管理。当蓄电池电量偏低时，系统会自动启动充电程序，直到电量达到一定水平时停止充电，进入放电状态，当电量低于某一设定值时又停止放电，开始充电。保证蓄电池处于合适的充放电状态，防止过充和过放现象的发生。

研究结果表明，单片机控制作为自动充放电管理的重要器件，的确能够对蓄电池进行合理的充放电控制，提高了设备的稳定性，还可以延长蓄电池的使用寿命，减少更换蓄电池的成本，为工程领域的研究提供了一定的参考价值。

关键词：单片机；蓄电池；充放电控制；电压检测

论文类型：工程设计

# Abstract

With the continuous development of modern science and technology, battery as an energy supply unit plays an important role in many equipment, such as solar panels, radio stations, drones and other energy storage components will be used to various types of batteries. However, the service life and performance of the battery are affected by a variety of factors, such as overcharge, undercharge, loss of power and other states will cause damage to the battery. Therefore, the design of automatic charge and discharge system has positive significance for the protection of battery. In the automatic control system, as an important controller, the single chip microcomputer can accurately manage and control the charging and discharging process, ensure that the battery is in a proper charging and discharging state, and prevent the occurrence of overcharging and overdischarging phenomenon. Therefore, the rational control of battery automatic charging and discharging by single chip microcomputer has become an important research direction in the field of engineering.

This paper aims at this research direction, through the design of reasonable charge and discharge circuit and MCU control program, so that it can be through the MCU for the battery uninterrupted voltage detection and temperature detection, and automatic management, so as to realize the protection of the battery. In this system, as an important component of automatic charge and discharge management, SCM can monitor and manage the battery power accurately and timely. When the battery power is low, the system will automatically start the charging procedure, until the battery reaches a certain level, stop charging, enter the discharge state, when the battery power is lower than a certain set value, stop discharging, start charging. Ensure that the battery is properly charged and discharged to prevent overcharge and overdischarge.

The results show that, as an important means of automatic charge and discharge management, single chip control can indeed carry out reasonable charge and discharge control of the battery, improve the stability of the equipment, but also can extend the service life of the battery, reduce the cost of replacing the battery, for the engineering field research provides a certain reference value.

Keywords:Single Chip Microcomputer; Storage Battery; Charge and Discharge Control; Voltage Detection

以上内容仅为本文档的试下载部分，为可阅读页数的一半内容。如要下载或阅读全文，请访问：https://d.book118.com/766103001053010050