# 摘  要

高精度频率检测仪实现对频率的精确检测，显示在电力电子领域时常会被使用到，本文设计一款低频高精度频率检测仪，实现对频率的检测。

该频率检测仪在信号输入端，加入处理信号处理电路实现对频率信号的精准输入，采用单片机的定时功能、外部中断计数功能，实现对信号频率的读取，读取到对应的数据后，在LCD对频率值显示；本文在对频率检测最先技术分析的基础上，分析功能设计框图，确定各个模块以及分析模块特性，实现对硬件电路设计和软件逻辑设计，最后对实物焊接对功能进行验证，验证了频率的检测功能、显示功能。

关键词：频率计；液晶模块；单片机

# Abstract

The high-precision frequency detector realizes the accurate detection of frequency, which is often used in the field of power electronics. This paper designs a low-frequency high-precision frequency detector to realize the detection of frequency.

At the signal input end, the frequency detector in adds processing signal processing circuit to realize, the precise input of frequency signal. The timing function and external interrupt counting function off single-chip microcomputer are used to realize, the reading of signal frequency. After reading the corresponding data, the frequency value will be displayed in LCD. Based on the first technical analysis of frequency detection, this paper analyzes the functional design block diagram, determines the characteristics of each module and analysis module, realizes the hardware circuit design and software logic design, and finally verifies the function of physical welding, which verifies the frequency detection function and display function.

Keywords：Frequency meter, digital tube, single chip microcomputer

以上内容仅为本文档的试下载部分，为可阅读页数的一半内容。如要下载或阅读全文，请访问：https://d.book118.com/848022071000006030