机构名称：上海南华兰陵电气有限公司试验中心注册号：L4588

地	址：

A：上海市闵行区曙光路 1515 号

获准认可能力索引

| 序号 | 地址 | 能力范围 | 评审类型 | 更新时间 |
| --- | --- | --- | --- | --- |
| 1 | A | 授权签字人(中文) | 复评+扩项 | 2013 年 07 月 22 日 |
| 2 |  | 授权签字人(英文) | 复评+扩项 | 2013 年 07 月 22 日 |
| 3 | A | 检测能力(中文) | 复评+扩项 | 2013 年 07 月 22 日 |
| 4 |  | 检测能力(英文) | 复评+扩项 | 2013 年 07 月 22 日 |
| 5 |  | 检测能力(中文) | 监督 | 2014 年 10 月 14 日 |
| 6 |  | 检测能力(英文) | 监督 | 2014 年 10 月 14 日 |

Name：Shanghai Nanhua-Lanling Electrical Co., Ltd. Test

Center

Registration No.：L4588 ADDRESS：

A: No.1515, Shuguang Road, Minhang District, Shanghai, China

## INDEX OF ACCREDITED SIGNATORIES

| No. | Address | Range | Type | Update date |
| --- | --- | --- | --- | --- |
| 1 | A | Approved signatories (Chinese) | Reassessment +Extending assessment | 2013-07-22 |
| 2 |  | Approved signatories (English) | Reassessment +Extending assessment | 2013-07-22 |
| 3 | A | Testing ability(Chinese) | Reassessment +Extending assessment | 2013-07-22 |
| 4 |  | Testing ability(English) | Reassessment +Extending assessment | 2013-07-22 |
| 5 |  | Testing ability(Chinese) | Surveillance | 2014-10-14 |
| 6 |  | Testing ability(English) | Surveillance | 2014-10-14 |

# 中 国 合 格 评 定 国 家 认 可 委 员 会

认 可 证 书 附 件

## （注册号：CNAS L4588）

名称: 上海南华兰陵电气有限公司试验中心地址：上海市闵行区曙光路 1515 号

签发日期：2013 年 07 月 22 日	有效期至：2016 年 07 月 21 日

更新日期：2013 年 07 月 22 日

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 郑荣林 | 高压/低压交流断路器、高压/低压开关设备和 控制设备、电力变压器、高压/低压预装式变电站检测项目 |  |
| 2 | 梁连明 | 高压/低压交流断路器、高压/低压开关设备和控制设备、电力变压器、高压/低压预装式变 电站检测项目 |  |

附件 1 认可的授权签字人及领域

#### CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L4588)

NAME:Shanghai Nanhua-Lanling Electrical Co., Ltd. Test Center ADDRESS:No.1515, Shuguang Road, Minhang District, Shanghai, China

##### Date of Issue:2013-07-22	Date of Expiry:2016-07-21

Date of Update：2013-07-22

APPENDIX 1	ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Zheng Rong Lin | Test Reports of High-voltage/Low-voltage alternating-current-breakers,High-voltage/L ow-voltage switchgear and controlgear,Power transformers,High-voltage/Low-voltage prefabricated substaions |  |
| 2 | Liang Lian Ming | Test Reports of High-voltage/Low-voltage alternating-current-breakers,High-voltage/L ow-voltage switchgear and controlgear,Power transformers,High-voltage/Low-voltage prefabricated substaions |  |

# 中 国 合 格 评 定 国 家 认 可 委 员 会

认 可 证 书 附 件

## （注册号：CNAS L4588）

名称: 上海南华兰陵电气有限公司试验中心地址：上海市闵行区曙光路 1515 号

认可依据：ISO/IEC 17025:2005 以及 CNAS 特定认可要求

签发日期：2013 年 07 月 22 日	有效期至：2016 年 07 月 21 日

更新日期：2013 年 07 月 22 日

附件 2	认可的检测能力范围

| 序号 | 检测对象 | 项目/ 参数 |  | 领域代码 | 检测标准（ 方法） 名称及编号（ 含年号） | 限制范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 高压交流断路器 | 1 | 工频电压试验 | 0423 | 高压交流断路器 GB 1984-2003 | 只做 40.5kV 及以下电压等级 |  |
|  |  | 2 | 雷电冲击电 压试验 |  |  |  |  |
|  |  | 3 | 局部放电试 验 |  |  |  |  |

| 序号 | 检测对象 | 项目/ 参数 |  | 领域代码 | 检测标准（ 方法） 名称及编号（ 含年号） | 限制范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 高压交流断路器 | 4 | 辅助和控制 回路的试验 | 0423 | 高压交流断路器 GB 1984-2003 |  |  |
|  |  | 5 | 主回路电阻 测量 |  |  |  |  |
|  |  | 6 | 温升试验 |  |  | 只做≤ 8kA |  |
|  |  | 7 | 防护等级验证 |  |  | 只做 IP43 及 以下 |  |
|  |  | 8 | 机械试验 |  |  |  |  |
| 2 | 低压交流断路器 | 1 | 验证温升 | 0503 | 低压开关设备和控制设备第 1 部分 总则 GB 14048.1-2006 低压开关设备和控制设备第 2 部分 断路器 GB/T 14048.2-2008 | 只做≤ 8kA |  |
|  |  | 2 | 介电性能试 验 |  |  |  |  |
|  |  | 3 | 耐湿性能试 验 |  |  |  |  |
| 3 | 高压交流金属封闭开关设备和控制设备 | 1 | 工频电压试验 | 0423 | 3.6kV～40.5 kV 交流金属封闭开关设备和控制设备 GB 3906－2006 |  |  |
|  |  | 2 | 雷电冲击电 压试验 |  |  |  |  |
|  |  | 3 | 局部放电试 验 |  |  |  |  |

| 序号 | 检测对象 | 项目/ 参数 |  | 领域代码 | 检测标准（ 方法） 名称及编号（ 含年号） | 限制范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 3 | 高压交流金属封闭开关设备和控制设备 | 4 | 辅助和控制回路的试验 | 0423 | 3.6kV～40.5 kV 交流金属封闭开关设备和控制设备 GB 3906－2006 |  |  |
|  |  | 5 | 主回路电阻 测量 |  |  |  |  |
|  |  | 6 | 温升试验 |  |  | 只做≤ 8kA |  |
|  |  | 7 | 防护等级验证 |  |  | 只做 IP43 及 以下 |  |
|  |  | 8 | 机械操作和机械特性测 量 |  |  |  |  |
| 4 | 低压成套开关设备和控制设备 | 1 | 温升极限的验证 | 0503 | 低压成套开关设备和控制设备 第 1 部分：型式试验和部分型式试验成套设备 GB 7251.1-2005 | 只做≤ 8kA |  |
|  |  | 2 | 介电性能试 验 |  |  |  |  |
|  |  | 3 | 保护电路有 效性验证 |  |  |  |  |
|  |  | 4 | 电气间隙和爬电距离验 证 |  |  |  |  |
|  |  | 5 | 机械操作验 证 |  |  |  |  |
|  |  | 6 | 防护等级验证 |  |  | 只做 IP43 及 以下 |  |

| 序号 | 检测对象 | 项目/ 参数 |  | 领域代码 | 检测标准（ 方法） 名称及编号（ 含年号） | 限制范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 5 | 动力配电网用电缆分线箱（CDCs） | 1 | 温升极限的验证 | 0503 | 低压成套开关设备和控制设备 第 5 部分：对公用电网动力配电成套设备的特殊要求 GB 7251.5-2008 | 只做≤ 8kA |  |
|  |  | 2 | 介电性能试 验 |  |  |  |  |
|  |  | 3 | 保护电路有 效性验证 |  |  |  |  |
|  |  | 4 | 电气间隙和 爬电距离验证 |  |  |  |  |
|  |  | 5 | 机械操作验 证 |  |  |  |  |
|  |  | 6 | 防护等级验证 |  |  | 只做 IP43 及 以下 |  |
| 6 | 电力变压器 | 1 | 绕阻电阻测 量； | 0406 | 电力变压器 第 1 部分 总则 GB 1094.1-1996 |  |  |
|  |  | 2 | 电压比测量和连接组标 号检定 |  |  |  |  |
|  |  | 3 | 短路阻抗和负载损耗测 量 |  |  |  |  |
|  |  | 4 | 空载电流和空载损耗测 量 |  |  |  |  |
|  |  | 5 | 绕组对地绝 缘电阻测量 |  |  |  |  |

| 序号 | 检测对象 | 项目/ 参数 |  | 领域代码 | 检测标准（ 方法） 名称及编号（ 含年号） | 限制范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 6 | 电力变压器 | 6 | 温升试验 | 0406 | 电力变压器 第 1 部分 总则 GB 1094.1-1996 | 只做 1600kVA /35kV 及以下 |  |
|  |  | 7 | 绝缘试验 |  |  | 只做 35kV 及以下电 压等级 |  |
|  |  | 8 | 声级测定 |  |  |  |  |
| 7 | 高压/低压预装式变电站 | 1 | 绝缘试验 | 0423 | 高压/低压预装式变电站 GB 17467-2010 | 只做 35kV 及以下电 压等级 |  |
|  |  | 2 | 温升试验 |  |  | 只做 1600kVA /35kV 及以下 |  |
|  |  | 3 | 功能试验 |  |  |  |  |
|  |  | 4 | 防护等级验证 |  |  | 只做 IP43 及 以下 |  |
|  |  | 5 | 机械撞击 |  |  |  |  |
|  |  | 6 | 声级的检验 |  |  |  |  |

#### CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L4588)

NAME:Shanghai Nanhua-Lanling Electrical Co., Ltd. Test Center ADDRESS:No.1515, Shuguang Road, Minhang District, Shanghai, China

### Accreditation Criteria:ISO/IEC 17025:2005 and relevant requirements of CNAS

##### Date of Issue:2013-07-22	Date of Expiry:2016-07-21

Date of Update：2013-07-22

APPENDIX 2  ACCREDITED TESTING

| № | Test Object | Item/Parameter |  | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | High-voltage alternating-current circuit-breakers | 1 | Power frequency voltage test | 0423 | High-voltage alternating- current circuit-breakers GB 1984-2003 | Accredited only for 40.5kV and below voltage level |  |
|  |  | 2 | Thunder impulse voltage test |  |  |  |  |
|  |  | 3 | Partial discharge test |  |  |  |  |
|  |  | 4 | Auxiliary and control circuit test |  |  |  |  |

| № | Test Object | Item/Parameter |  | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | High-voltage alternating-current circuit-breakers | 5 | Main circuit resistance measureme nt | 0423 | High-voltage alternating- current circuit-breakers GB 1984-2003 |  |  |
|  |  | 6 | Temperatur e rise test |  |  | Accredited only for ≤ 8kA |  |
|  |  | 7 | Verification of degrees of protection |  |  | Accredited only for IP43and below |  |
|  |  | 8 | Mechanical testing |  |  |  |  |
| 2 | Low-voltage circuit breakers | 1 | Verification of temperature rise | 0503 | Low-voltage switchgear and controlgear-Part1: General rules GB/T 14048.1-2006 Low-voltage switchgear and controlgear-Part2: Circuit- breakers GB14048.2-2008 | Accredited only for ≤ 8kA |  |
|  |  | 2 | Dielectric properties test |  |  |  |  |
|  |  | 3 | Resistance to humidity properties |  |  |  |  |

| № | Test Object | Item/Parameter |  | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 3 | Alternating-current metal-enclosed switchgear and controlgear | 1 | Power frequency voltage test | 0423 | Alternating- current metal-enclosed switchgear and controlgear for rated voltages above 3.6 kV and up to and including 40.5kV GB 3906-2006 |  |  |
|  |  | 2 | Thunder impulse voltage test |  |  |  |  |
|  |  | 3 | Partial discharge test |  |  |  |  |
|  |  | 4 | Auxiliary and control circuit test |  |  |  |  |
|  |  | 5 | Main circuit resistance measuremet |  |  |  |  |
|  |  | 6 | Temperatur e rise test |  |  | Accredited only for ≤ 8kA |  |
|  |  | 7 | Verification of degrees of protection |  |  | Accredited only for IP43 and below |  |

| № | Test Object | Item/Parameter |  | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 3 | Alternating-current metal-enclosed switchgear and controlgear | 8 | Mechanical operating and mechanical properties measuring test | 0423 | Alternating- current metal-enclosed switchgear and controlgear for rated voltages above 3.6 kV and up to and including 40.5kV GB 3906-2006 |  |  |
| 4 | Low-vlotage switchgear and controlgear assemblies | 1 | Verification of temperature rise limit | 0503 | Low-voltage switchgear and controlgear assemblies -Part1:Type-tested and partially type-tested assemblies GB 7251.1-2005 | Accredited only for ≤ 8kA |  |
|  |  | 2 | Dielectric properties test |  |  |  |  |
|  |  | 3 | Verification of protection circuit validity |  |  |  |  |

| № | Test Object | Item/Parameter |  | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 4 | Low-vlotage switchgear and controlgear assemblies | 4 | Verification of clearance and creepage distance | 0503 | Low-voltage switchgear and controlgear assemblies -Part1:Type-tested and partially type-tested assemblies GB 7251.1-2005 |  |  |
|  |  | 5 | Verification of mechanical operating |  |  |  |  |
|  |  | 6 | Verification of degrees of protection |  |  | Accredited only for IP43 and below |  |

以上内容仅为本文档的试下载部分，为可阅读页数的一半内容。如要下载或阅读全文，请访问：https://d.book118.com/905114201142011113